The Net-Metering Registration Form (available at https://puc.vermont.gov/sites/psbnew/files/doc_library/NMRegistrationFormFINAL06-26-19.pdf) contains fields to capture required information for the Interconnecting Utility’s review.  The Commission requests that participants answer the following questions about each field.  The Commission has provided a worksheet to facilitate participant’s responses.  The Commission has identified several fields that the Commission assumes are necessary information; participants do not need to address whether those fields are necessary unless they disagree with the Commission’s assumption that they are necessary.

| Field | Is it necessary to collect this information? Why or why not? | Do changes to this information need to be reviewed before a CPG is deemed issued? Why? | Is there a threshold for de minimis changes to this field that do not require review? | If a change to this field needs review, how much time is necessary to review the change? Why? |
| --- | --- | --- | --- | --- |
| Applicant/Customer Name | [The Commission assumes this is necessary] |  |  |  |
| Applicant Mailing Address, Daytime Phone, and E-mail Address | [The Commission assumes this is necessary] |  |  |  |
| Name of Interconnecting Utility | [The Commission assumes this is necessary] |  |  |  |
| Consumption Meter Number | [The Commission assumes this is necessary] |  |  |  |
| Whether the System is a Group System or Individual System |  |  |  |  |
| System Location | [The Commission assumes this is necessary] |  |  |  |
| System Technology (Solar or Hydro) | [The Commission assumes this is necessary] |  |  |  |
| Whether the System is Owned or Leased |  |  |  |  |
| Whether the Application is an Amendment | [The Commission assumes this is necessary] |  |  |  |
| Photovoltaic System Information |  |  |  |  |
| System Capacity AC kilowatts (AC Nameplate Capacity of the Inverter(s)) | [The Commission assumes this is necessary] |  |  |  |
| PV Module Manufacturer and Model |  |  |  |  |
| Number of Modules |  |  |  |  |
| Power Rating per Module (DC Watts) |  |  |  |  |
| Total Array Output DC kilowatts (no. of modules x power rating) | [The Commission assumes this is necessary] |  |  |  |
| Inverter Manufacturer and Model |  |  |  |  |
| Interconnection Configuration (generation meter or behind consumption meter) | [The Commission assumes this is necessary] |  |  |  |
| Installation Type (roof mount or ground mount) | [The Commission assumes this is necessary] |  |  |  |
| System Orientation Circle one: fixed mount 1-axis tracking 2-axis tracking |  |  |  |  |
| Hydroelectric System Information |  |  |  |  |
| System Capacity AC kilowatts (AC Nameplate Capacity) | [The Commission assumes this is necessary] |  |  |  |
| Generator Manufacturer and Model |  |  |  |  |
| AC Source (inverter, induction generator, or synchronous generator) | [The Commission assumes this is necessary] |  |  |  |
| Physical Location of Facility’s Lockable Disconnect Switch | [The Commission assumes this is necessary] |  |  |  |
| Interconnection Configuration (generation meter or behind consumption meter) | [The Commission assumes this is necessary] |  |  |  |
| Installer Information |  |  |  |  |
| Company Name, Address, E-mail | [The Commission assumes this is necessary] |  |  |  |
| Installer Name | [The Commission assumes this is necessary] |  |  |  |