The Net-Metering Registration Form (available at https://puc.vermont.gov/sites/psbnew/files/doc_library/NMRegistrationFormFINAL06-26-19.pdf) contains fields to capture required information for the Interconnecting Utility’s review.  The Commission requests that participants answer the following questions about each field.  The Commission has provided a worksheet to facilitate participant’s responses.  The Commission has identified several fields that the Commission assumes are necessary information; participants do not need to address whether those fields are necessary unless they disagree with the Commission’s assumption that they are necessary.

| Field | Is it necessary to collect this information? Why or why not? | Do changes to this information need to be reviewed before a CPG is deemed issued? Why? | Is there a threshold for de minimis changes to this field that do not require review? | If a change to this field needs review, how much time is necessary to review the change? Why? |
| --- | --- | --- | --- | --- |
| Applicant/Customer Name | [The Commission assumes this is necessary] | No, changes are usually because a mistake has been made |  |  |
| Applicant Mailing Address, Daytime Phone, and E-mail Address | [The Commission assumes this is necessary] | No, changes are usually because a mistake has been made |  |  |
| Name of Interconnecting Utility | [The Commission assumes this is necessary] | Doesn’t need to be reviewed necessarily, but this change should reset the clock on the intervention timeline because this would be the first time that the appropriate utility has been notified of the system. |  |  |
| Consumption Meter Number | [The Commission assumes this is necessary] | No, changes are usually because a mistake has been made |  |  |
| Whether the System is a Group System or Individual System | This is good to know initially, but the responsibility is still on the applicant to file the appropriate group information with their utility | No |  |  |
| System Location | [The Commission assumes this is necessary] | Yes, this could be important for utility review |  | 10 business days |
| System Technology (Solar or Hydro) | [The Commission assumes this is necessary] | Yes, this could be important for utility review |  | 10 business days |
| Whether the System is Owned or Leased | This is useful for the state and utilities to understand which financial models are most popular. | No |  |  |
| Whether the Application is an Amendment | [The Commission assumes this is necessary] | Yes because an addition to an existing system can sometimes trigger additional review |  | 10 business days |
| Photovoltaic System Information |  |  |  |  |
| System Capacity AC kilowatts (AC Nameplate Capacity of the Inverter(s)) | [The Commission assumes this is necessary] | Yes, this could be important for utility review |  | 10 business days |
| PV Module Manufacturer and Model | We don’t use this information but might be useful in the future | No |  |  |
| Number of Modules | We don’t use this information but might be useful in the future | No |  |  |
| Power Rating per Module (DC Watts) | We don’t use this information but might be useful in the future | No |  |  |
| Total Array Output DC kilowatts (no. of modules x power rating) | [The Commission assumes this is necessary] | Yes, this could be important for utility review |  | 10 business days |
| Inverter Manufacturer and Model | Yes, we track this in our system | No |  |  |
| Interconnection Configuration (generation meter or behind consumption meter) | [The Commission assumes this is necessary] | No |  |  |
| Installation Type (roof mount or ground mount) | [The Commission assumes this is necessary] | Only where this affects the type of application that is required | Only where this affects the type of application that is required | Where applicable, resets application process timeline |
| System Orientation Circle one: fixed mount 1-axis tracking 2-axis tracking | We don’t use this information but might be useful in the future | No |  |  |
| Hydroelectric System Information |  |  |  |  |
| System Capacity AC kilowatts (AC Nameplate Capacity) | [The Commission assumes this is necessary] | Yes, this could be important for utility review |  | 10 business days |
| Generator Manufacturer and Model | We don’t use this information but might be useful in the future | No |  |  |
| AC Source (inverter, induction generator, or synchronous generator) | [The Commission assumes this is necessary] | No |  |  |
| Physical Location of Facility’s Lockable Disconnect Switch | [The Commission assumes this is necessary] | Yes, this could be important for utility review |  | 10 business days |
| Interconnection Configuration (generation meter or behind consumption meter) | [The Commission assumes this is necessary] | No |  |  |
| Installer Information |  |  |  |  |
| Company Name, Address, E-mail | [The Commission assumes this is necessary] | No |  |  |
| Installer Name | [The Commission assumes this is necessary] | No |  |  |