

Case No. 19-0855-RULE			Attachment B
[bookmark: _GoBack]The Net-Metering Registration Form (available at https://puc.vermont.gov/sites/psbnew/files/doc_library/NMRegistrationFormFINAL06-26-19.pdf) contains fields to capture required information for the Interconnecting Utility’s review.  The Commission requests that participants answer the following questions about each field.  The Commission has provided a worksheet to facilitate participant’s responses.  The Commission has identified several fields that the Commission assumes are necessary information; participants do not need to address whether those fields are necessary unless they disagree with the Commission’s assumption that they are necessary.    

	Field 
	Is it necessary to collect this information?  Why or why not?
	Do changes to this information need to be reviewed before a CPG is deemed issued?  Why?
	Is there a threshold for de minimis changes to this field that do not require review?
	If a change to this field needs review, how much time is necessary to review the change?  Why?

	Applicant/Customer Name 
	[The Commission assumes this is necessary]
	No, changes are usually because a mistake has been made
	
	

	Applicant Mailing Address, Daytime Phone, and E-mail Address 
	[The Commission assumes this is necessary]
	No, changes are usually because a mistake has been made
	
	

	Name of Interconnecting Utility 
	[The Commission assumes this is necessary]
	Doesn’t need to be reviewed necessarily, but this change should reset the clock on the intervention timeline because this would be the first time that the appropriate utility has been notified of the system.
	
	

	Consumption Meter Number 
	[The Commission assumes this is necessary]
	No, changes are usually because a mistake has been made
	
	

	Whether the System is a Group System or Individual System
	This is good to know initially, but the responsibility is still on the applicant to file the appropriate group information with their utility
	No
	
	

	System Location 
	[The Commission assumes this is necessary]
	Yes, this could be important for utility review
	
	10 business days

	System Technology (Solar or Hydro)
	[The Commission assumes this is necessary]
	Yes, this could be important for utility review
	
	10 business days

	Whether the System is Owned or Leased

	This is useful for the state and utilities to understand which financial models are most popular.
	No
	
	

	Whether the Application is an Amendment
	[The Commission assumes this is necessary]
	Yes because an addition to an existing system can sometimes trigger additional review
	
	10 business days

	Photovoltaic System Information 

	System Capacity AC kilowatts (AC Nameplate Capacity of the Inverter(s))
	[The Commission assumes this is necessary]
	Yes, this could be important for utility review
	
	10 business days

	PV Module Manufacturer and Model 
	We don’t use this information but might be useful in the future
	No
	
	

	Number of Modules 
	We don’t use this information but might be useful in the future
	No
	
	

	Power Rating per Module (DC Watts) 
	We don’t use this information but might be useful in the future
	No
	
	

	Total Array Output DC kilowatts (no. of modules x power rating)
	[The Commission assumes this is necessary]
	Yes, this could be important for utility review
	
	10 business days

	Inverter Manufacturer and Model 
	Yes, we track this in our system
	No
	
	

	Interconnection Configuration (generation meter or behind consumption meter)
	[The Commission assumes this is necessary]
	No
	
	

	Installation Type (roof mount or ground mount)
	[The Commission assumes this is necessary]
	Only where this affects the type of application that is required
	Only where this affects the type of application that is required
	Where applicable, resets application process timeline

	System Orientation Circle one: fixed mount 1-axis tracking 2-axis tracking 
	We don’t use this information but might be useful in the future
	No
	
	

	Hydroelectric System Information 

	System Capacity AC kilowatts (AC Nameplate Capacity)
	[The Commission assumes this is necessary]
	Yes, this could be important for utility review
	
	10 business days

	Generator Manufacturer and Model 
	We don’t use this information but might be useful in the future
	No
	
	

	AC Source (inverter, induction generator, or synchronous generator) 
	[The Commission assumes this is necessary]
	No
	
	

	Physical Location of Facility’s Lockable Disconnect Switch
	[The Commission assumes this is necessary]
	Yes, this could be important for utility review
	
	10 business days

	 Interconnection Configuration (generation meter or behind consumption meter)
	[The Commission assumes this is necessary]
	No
	
	

	Installer Information 

	Company Name, Address, E-mail
	[The Commission assumes this is necessary]
	No
	
	

	Installer Name 
	[The Commission assumes this is necessary]
	No
	
	






