## Summary
Table 1.1 - Summary of Rate Year 2020 NM Impact
Net Metering Output in MWh | MWh
Own Use | 54260.9539
Excess Generation | 209254.3699
Total Output | 263515.3238
Rate Year 2020
| $ 000s | Average $/MWh | Average cents/kWh
Costs $000s
Sales Offset by Own Use | 9232478.7414 | 170.1496 | 17.015
Excess Generation | 33768921.8219 | 161.3774 | 16.1377
Adders/Adjustors (includes RECs) | 10188566 | 38.664 | 3.8664
Total Cost | 53189966.5633 | 201.8477 | 20.1848
Power Supply Benefits $000s
Avoided Power Cost | -11332733.1854 | -43.006 | -4.3006
Transferred RECs | -1524412.5 | -5.7849 | -0.57849
Avoided Capacity/RNS | -7057304.496 | -26.7814 | -2.6781
Total Power Supply Benefits | -19914450.1814 | -75.5723 | -7.5572
Net Cost/(Benefit) $000s | 33275516.382 | 126.2755 | 12.6275
| -6503221.296 | -24.6787 | -2.4679
| -554083.2 | -2.1027 | -0.21027

## Total Solar Impact
Approximate Impact of Solar Net Metering on GMP's Cost of Service
[6 empty] | Total Solar Costs: |  |  |  |  | Total Solar Benefits: | [7 empty] | Net Cost:
[13 empty] | Avoided Power |  | Lagged FCM and
Generation volumes from rate case model: | [6 empty] | Sales Offset |  |  | Total |  |  | Purchases |  | RNS Reductions |  | Total |  | Net
Total MWh Generation |  | NM1.0 | NM2.0 | NM2.1 |  | Adders (A) | by Own Use (B) | NM 2.0 & 2.1(C): | Excess (D): | Costs | NM 2.0 REC (E) |  | ($42 / MWh)(F) |  | ($23 / MWh)(G) |  | Benefits |  | Cost
FY19 | 219353.8092 | 175040.8536 | 38194.3034 | 6118.6522 | 219353.8092
FY20 | 263515.3238 | 179698.6568 | 61111.1078 | 22705.5592 | 263515.3238 | 5861731 | 9232478.7414 | 4326835 | 33768921.8219 | 53189966.5633 | -1524412.5 |  | -11332733.1854 |  | -7057304.496 |  | -19914450.1814 |  | 33275516.382
FY20 vs FY19 | 120.1% | 102.7% | 160% | 371.1% | $/MWh | 22.2444 | 35.0358 | 16.4197 | 39630652.8219 | 201.8477 | -5.7849 |  | -43.006 |  | -26.7814 |  | -75.5723 |  | 126.2755
189.3898
Excess MWh Gen |  | NM1.0 | NM2.0 | NM2.1
FY19 | 174555.9274 | 139359.9669 | 30468.0852 | 4727.8752 | 174555.9274
FY20 | 209254.3699 | 142621.9124 | 48546.212 | 18086.2455 | 209254.3699
FY20 vs FY19 | 119.9% | 102.3% | 159.3% | 382.5%
Used MWh Gen(H) |  | NM1.0 | NM2.0 | NM2.1
FY19 | 44797.8818 | 35680.8866 | 7726.2182 | 1390.777 | 44797.8818
FY20 | 54260.9539 | 37076.7444 | 12564.8958 | 4619.3136 | 54260.9539
FY20 vs FY19 | 121.1% | 103.9% | 162.6% | 332.1%
(A) See cell K27 on Rate Case Tab.
(B) Calculated on Own Use Summary Tab in cell G20.
(C) Based on Rate Case estimate of 81,302 RECs purchased for approximately $53.22/MWh.
(D) See cell K28 on Rate Case Tab.
(E) Assumes 75% of RECs delivered at $25/MWh avoided cost based on total Tier II volume of 81,302 reflecting lag factor associated with settling RECs
(F) See Energy Avoided Cost Tab
(G) See Peak Shaving Tab
(H) Based on billing cycles so there is a small timing difference between this and the calendar month data used in the Revenue Impact tab - pass/immaterial
This file, first developed for the Interim Regulation Plan, was originally named Attachment B GMP.DPS1.Q4.
The file has been updated to reflect FY20 projected values.
Old (last year) notes | [11 empty] | RECs |  | Energy |  | FCM/RNS
Notes: | [11 empty] | 48675 | MWh | 263515.3238 | MWh | 263515.3238 | MWh | 225 | MW
[12 empty] | 30 |  | 40 |  | 45 |  | 50% | Potential incl peak migration
(1) Adder = total projected NM 1.0 generation * average adder of 4.9 cents/kWh, plus total NM 2.0 generation * avg -3.0 cents REC reduction plus location (site) adjustment(s) | [13 empty] | -10% |  | 0% |  | 60% | Coincidence
(2) NM 2.0 = RES Tier II expense for 2018 NM 2.0 generation @ $60/MWh (difference in price paid for all NM 2.0 generation w/ vs w/o transferred RECs) | [17 empty] | 10 | $/kW-month
(3) Lost Revenue = projected reduced retail sales, at retail energy rates (mostly residential), at weighted average 14.95 cents/kWh). | [11 empty] | -1460250 |  | -9486551.6578 |  | -11858189.5722 |  | 4 | Months
(4) Excess = projected excess NM generation, * average projected residential energy rate of 15.13 cents/kWh). | [11 empty] | Lag |  |  |  | Lag
(5) NM2.0 REC = estimated value of REC sales made possible by using NM2.0 RECs to meet part of GMP's RES Tier II requirement. Approximated at $30/MWh. | [11 empty] | 25% | Net % lag assuming 50% lag to '19 |  |  | -52.9167 | MW Reduction due to 1-2 year lag
(6) Avoided Energy Purchases = market value of avoided purchase requirements, at LMP. Approximated at $40/MWh including value of saved losses. | [12 empty] | but adding back 1/2 of that from '17 |  |  | 23.52% | % Reduction
(7) Lagged FCM/TBO Reductions = peak-driven reductions in GMP capacity (FCM) and TbyO (RNS) expenses. Approximated at $45/MWh | [11 empty] | 75% | Resulting % share |  |  | 76.48% | Resulting % share
Note on G11: Watts, Charles: Includes site adjustor(s) and REC costs transferred out
Note on M11: Watts, Charles: Before removing REC costs for NM 2.0 and 2.1
Note on G13: Watts, Charles: Estimated NM 1.0 average cost of $46.69 per MWh offset by NM 2.0 and 2.1 for transfer of REC costs to RES. NM 2.0 and 2.1 net siting adjustor value included in net Adder value. Components of total value shown in Rate Case data tab.
Note on K13: Watts, Charles: Rate case estimated $53.22 avg price paid for 81,302 RECs transferred
Note on M13: Watts, Charles: Total net NM solar cost minus net Adder value
Note on Q13: Watts, Charles: Benefit arises from freeing up other premium RECs to sell. Rate case assumed 81,302 solar RECs trasferred. Benefit value includes "lag factor" (-25% of current year volume) to account for average 6-month lag from generation (RES booking) to REC benefit booking.
Note on M14: Watts, Charles: Total NM solar booked as power (not RES) cost
Note on M15: Watts, Charles: Average unit price for excess solar booked as (energy) power, including net Adder, which includes costs or credits related to solar used by customers.
Note on V43: Watts, Charles: Includes estimated value of reduced losses and FCM reserve requirement.
Note on T44: Watts, Charles: Includes est weighted avg value vs flat 8760 price plus saved enerrgy losses

## Own Use Summary
Solar Own Use Volumes
Offset Sales (MWh)
Fiscal Year | Res | Com | Ind | GF | StL | Total
2020 | 53312.2092 | 4033.6723 | -3376.8413 |  |  | 53969.0401
Based on calendar month data
Rates Applicable to Analysis:
| Res | Com | Ind | GF | StL | Total
Average Rate ($/kWh) - Current Rates | 0.18945 | 0.1613 | 0.11618 | 0.09317 | 0.6753 | 0.15672
Average Rate ($/kWh) - With Filed Rate Change Request | 0.1946 | 0.16569 | 0.11934 | 0.09317 | 0.69367 | 0.16073
Average Incremental $/kWh in 2019 $ | 0.16446 | 0.15168 | 0.11596
Average Incremental $/kWh in 2020 $ | 0.16893 | 0.15581 | 0.11911
Growth factor for 2019 - 2020 rates based on PUC Order | 2.72% | = Final PUC Order Rate Change
Sales Offset by Own Use in $$$ due to Solar
Offset Sales ($)
Fiscal Year | Res | Com | Ind | GF | StL | Total
2020 | 9006208.072 | 628489.0024 | -402218.333 |  |  | 9232478.7414 | (C ) on Total Solar Impact tab

## Energy Avoided Cost
Green Mountain Power
Analysis of Value of Solar Shaped Energy
| Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total
Peak Hours | 368 | 320 | 336 | 352 | 320 | 352 | 352 | 320 | 352 | 352 | 336 | 336 | 4096
Off-Peak Hours | 376 | 401 | 408 | 392 | 376 | 391 | 368 | 424 | 368 | 392 | 408 | 384 | 4688
Total Hours | 744 | 721 | 744 | 744 | 696 | 743 | 720 | 744 | 720 | 744 | 744 | 720 | 8784
Energy Forecast Value
On Peak | 36.5 | 46.2 | 66.55 | 82.86 | 79.49 | 53.4 | 38.85 | 31.5 | 33.9 | 42.8 | 42 | 34.75 | 48.9548
Off Peak | 27.95 | 38.5 | 57.35 | 69.28 | 67.82 | 44.35 | 29.1 | 24.25 | 24.5 | 27.63 | 27.17 | 22.75 | 38.3969
Average | 31.8113 | 42.0933 | 61.7027 | 75.3072 | 73.3413 | 48.2425 | 33.7429 | 27.8408 | 29.0956 | 34.1547 | 34.4202 | 28.1694 | 43.32
Energy Volume | Dec: -263515.3238; Jan: Total Solar Impact Tab cell B13
Loss gross up | Dec: 4.5%; Jan: GMP assumption of average line losses
Loss adjusted energy volume | Dec: -275373.5134
All Hours Average Energy Price | Dec: 43.32; Jan: Cell N14 above
Shaping Adjustment | Dec: 95%; Jan: GMP current solar shape adjustment
Effective Value of Solar Shaped Energy | Dec: 41.154
Energy Value | Dec: -11332733.1854; Jan: Cell B23 * cell B27

## Peak Shaving
Green Mountain Power
Analysis of Peak Shaving Avoided Costs
Estimated FCM Value calc
| Oct-May Ben. | Jun-Sep Ben. | Total
Installed MW at Peak | 147 | 180
Coincidence Factor | 36% | 36% |  | Rate case assumption
Loss/Reserve Gross up | 49.5% | 49.5% |  | Adjustment to reflect value of avoided losses and FCM Reserve Margin
Net MW Delivered | 79.1154 | 96.876
FCM rate | 7.03 | 5.3
Total Value | 4449.4501 | 2053.7712 | 6503.2213
Calculation of FCM Gross Up
Marginal Losses | 15% | 15% | Estimated marginal losses during peak conditions with high loads and temperatures.
FCM Reserve Margin | 30% | 30% | Based on GMP general assumptions - actual FCA#10 Reserve Margin is 42%.
Loss/Reserve Gross up | 49.5% | 49.5%
RNS
2020 MW | 212
Months of benefit | 4
Est. Coincidence | 6%
Loss Adjustment | 8.9%
Annual Volume | -55.4083
RNS Rate | 10
RNS Value | -554083.2
FCM
FCM Volume | -85.0356 | Avg saved MW based on 2018 (2/3) and 2019 (1/3) installed solar NM
Annual Price | 76.4765 | Weighted avg (resulting) annual benefit/kW
FCM Value | -6503221.296 | Capacity
Total Peak Value | -7057304.496
Note on B10: Watts, Charles: Estimated current rate
Note on C10: Watts, Charles: Estimated June-Sept 2020 rate
Note on B25: Watts, Charles: Estimated 2020 installed MW * 10% potential (time-of-day) * 60% weather * 4 months * 1.089 gross-up for losses
Note on B26: Watts, Charles: Assumed summer 2020 (monthly) RNS rate

## Rate Case data
Data Below per Filing
|  |  | 219353.8092 | 263515.3238 | Total w/o non-solar
|  |  | 173466.2964 | 208012.0267 | Excess w/o non-solar
|  |  | 45887.5128 | 55503.2971 | Own Use by NM Customers
|  |  | 20.92% | 21.06% | Own Use Percentage
Net Metered |  | Total Gen incl Non-Solar | 232146.7001 | 276340.1481
|  | Total kW SOLAR | 171 | 204
| Cal Year |  | 2 | 3
| FY |  | FY19 | FY20
Calendar Month
Energy volume
| on peak | MWh | 130588.593 | 155830.6005
| off peak | MWh | 55670.5943 | 65006.2506
|  |  | 186259.1873 | 220836.8511
| on peak | $/MWh
| off peak | $/MWh | 199.126 | 188.9463
Cost Calculation
Total Solar Adder |  |  | 7315647.1689 | 6113877.948 | A | Total Adder (Sum A) | 5861731.4376 | Cell G13 on Total Solar Impact Tab
Total Solar Excess |  |  | 28361285.9471 | 34193585.5565 | B | Solar Excess (Sum B) | 33768921.3843 | Cell M13 on Total Solar Impact Tab
Adder exp. (10-year limit) |  |  | -231193.742 | -252146.5105 | A |  | 39630652.8219
Expired Credits (annual unused) |  |  | -424664.1721 | -424664.1721 | B
Total Net Solar |  |  | 35021075.2019 | 39630652.8219
Total Non-Solar |  |  | 2067965.922 | 2095663.4158
|  |  | 0 | 0
Total NM Power Cost |  |  | 37089041.1238 | 41726316.2377
|  |  | FY2019 | FY2020
Total MWh |  |  | 232146.7001 | 276340.1481 | includes non-solar
Used |  |  | 45887.5128 | 55503.2971 | includes non-solar
Excess |  |  | 186259.1873 | 220836.8511 | includes non-solar
Energy hours |  |  | 182.7639 | 217.5564
|  |  | 0.19767 | 0.20085
on-peak hours
off-peak hours
|  |  | 0 | 0
Offpeak days
|  |  | 0 | 0
Non-Solar
Installed kW
Est. Cap Factor
| on peak | MWh | 5966.8224 | 5997.5731
| off peak | MWh | 6826.0685 | 6827.2512
|  |  | 12792.8909 | 12824.8243
| Total Adder |  | 0 | 0
| Excess MWh |  | 12792.8909 | 12824.8243
| Excess $ |  | 2067965.922 | 2095663.4158
| $/XS MWh |  | 161.6496 | 161.6496
Actual vs Billed Volume Adjustment Factor
Total Billed Excess Volume |  |  | 187348.8183 | 222079.1942
Actual (projected) Excess volume |  |  | 170501.4133 | 208012.0267
Solar Billed Excess |  |  | 171065.6179 | 209254.3699
Actual v Billed |  |  | 12.0878 | 12.0878
Non-Solar |  |  | 12792.8909 | 12824.8243
Total vs Billed Excess |  |  | 16283.2004 | 12824.8243
Non Solar Excess |  |  | 12792.8909 | 12824.8243
Actual Total Check |  |  | 149984.4466 | 208012.0267
Total Solar gen |  |  | 219353.8092 | 263515.3238 |  | 219353.8092 |  | 263515.3238 | ok
Cap factor for estimating kW only |  |  | 0.14472 | 0.14575
Total kW (Calced) |  |  | 2047.844 | 2449.3005 |  | 170.6537 |  | 204.1084
Total kW (NM Volumes tab) |  |  | 1654.3263 | 1684.0998 |  | 137.8605 |  | 140.3416
Non-Solar
Totals |  |  |  |  | S/M/L split
Small Excess $ |  |  | 9992193.699 | 11163677.6361 | 35% | 9268405.6263 |  | 10430195.4406
Med Excess $ |  |  | 7389667.2493 | 9061896.2507 | 35% | 6665879.1766 |  | 8328414.0552
Large Excess $ |  |  | 12391533.0066 | 15386864.4029 | 30% | 11771143.23 |  | 14758165.3781 |  |  |  | 27705428.0329 | 33516774.8739 | < Solar est
|  |  | 0 | 0
Small Other $ |  |  | 1939684.4685 | 1771572.343 |  | 1939684.4685 |  | 1771572.343
Med Other $ |  |  | 1712363.6342 | 1363442.2146 |  | 1712363.6342 |  | 1363442.2146
Large Other $ |  |  | 3663599.0662 | 2978863.3905 |  | 3663599.0662 |  | 2978863.3905 |  |  |  | 7315647.1689 | 6113877.948 | < All Solar
|  |  | 0 | 0
Total |  |  | 37089041.1238 | 41726316.2377 |  | 35021075.2019 |  | 39630652.8219 | ok |  |  | 35021075.2019 | 39630652.8219 | < All solar est
Check total |  |  | 37089041.1238 | 41726316.2377
|  |  | 0 | 0
Small Excess MWh |  |  | 62990.1881 | 69767.9769 | 35% | 58512.6762 |  | 65279.2884
Med Excess MWh |  |  | 46952.6039 | 56905.7125 | 35% | 42475.0921 |  | 52417.024
Large Excess MWh |  |  | 77572.7599 | 95405.5049 | 30% | 73734.8926 |  | 91558.0576
|  |  | 0 | 0
Total |  |  | 187515.5518 | 222079.1942 |  | 174722.661 |  | 209254.3699 |  |  |  | 174722.661 | 209254.3699 | < Just solar est?
|  |  | 0 | 0 | [7 empty] | 174555.9274 | 209254.3699
Small Total MWh |  |  | 77927.1561 | 86714.8417 |  | 73449.6443 |  | 82226.1532 |  |  |  | 166.7336 | 0 |  |  | Variances are offset
Med Total MWh |  |  | 57795.8594 | 70500.8761 |  | 53318.3476 |  | 66012.1876
Large Total MWh |  |  | 96423.6846 | 119124.4303 |  | 92585.8173 |  | 115276.983
|  |  | 0 | 0
Total |  |  | 232146.7001 | 276340.1481 |  | 219353.8092 |  | 263515.3238 | ok |  |  | 219353.8092 | 263515.3238 | < Just solar
Check total | [11 empty] | 219353.8092 | 263515.3238 | < Check OK
|  |  | 0 | 0
Small Used MWh |  |  | 14936.968 | 16946.8648 |  | 14936.968 |  | 16946.8648
Med Used MWh |  |  | 10843.2555 | 13595.1637 |  | 10843.2555 |  | 13595.1637
Large Used MWh |  |  | 18850.9247 | 23718.9254 |  | 18850.9247 |  | 23718.9254
|  |  | 0 | 0
Total |  |  | 44631.1482 | 54260.9539 |  | 44631.1482 |  | 54260.9539 |  |  |  | 44631.1482 | 54260.9539
|  |  | 0 | 0 | [7 empty] | 44797.8818 | 54260.9539
Small $/MWh (Total $/Excess MWh) |  |  | 189.4244 | 185.4038 |  | 191.5498 |  | 186.9164 |  |  |  | -166.7336 | 0
Med $/MWh |  |  | 193.8557 | 183.2037 |  | 197.2507 |  | 184.899
Large $/MWh |  |  | 206.9687 | 192.5018 |  | 209.3275 |  | 193.7244
Total$/MWh |  |  | 197.7918 | 187.8894 |  | 200.4381 |  | 189.3898
|  |  | 0 | 0
Small $/MWh Excess |  |  | 158.631 | 160.0115 |  | 158.4 |  | 159.778
Med $/MWh Excess |  |  | 157.3857 | 159.2441 |  | 156.9362 |  | 158.8876
Large $/MWh Excess |  |  | 159.7408 | 161.2786 |  | 159.6414 |  | 161.1891
Total $/MWh Excess |  |  | 158.7783 | 160.3592 |  | 158.568 |  | 160.1724
|  |  | 0 | 0
Small $/MWh Adders |  |  | 24.891 | 20.4299 |  | 26.4084 |  | 21.5451
Med $/MWh Adders |  |  | 29.6278 | 19.3394 |  | 32.1158 |  | 20.6544
Large $/MWh Adders |  |  | 37.9948 | 25.0063 |  | 39.5698 |  | 25.8409
Total $/MWh Adders |  |  | 31.513 | 22.1245 |  | 33.3509 |  | 23.2012
|  |  | 0 | 0
|  |  | 0 | 0 | [5 empty] | 6 | -3 | 16 |  |  | 19
|  |  | 0 | 0
|  |  | 0 | 0 | [6 empty] | RY Other | RY Excess | Total Check
NM 1.0 Total $ |  |  | 32524653.2638 | 33365676.4231 |  | 30456687.3418 |  | 31270013.0073 |  |  | 8389287 | 22880725 | 31270012 | ok
NM 2.0 Total $ |  |  | 3911642.372 | 6059717.4898 |  | 3911642.372 |  | 6059717.4898 |  |  | -1873063 | 7932781 | 6059718
NM 2.1 Total $ |  |  | 652745.488 | 2300922.3248 |  | 652745.488 |  | 2300922.3248 |  |  | -654493 | 2955415 | 2300922
|  |  | 0 | 0
Total |  |  | 37089041.1238 | 41726316.2377 |  | 35021075.2019 |  | 39630652.8219 | < OK Total net Cost |  | 5861731 | 33768921 | 39630652 | ok
Check total
NM 1.0 Excess MWh |  |  | 152152.8578 | 155446.7367 |  | 139359.9669 |  | 142621.9124 |  |  |  | 160.4292
NM 2.0 Excess MWh |  |  | 30468.0852 | 48546.212 |  | 30468.0852 |  | 48546.212 |  |  |  | 163.4068
NM 2.1 Excess MWh |  |  | 4727.8752 | 18086.2455 |  | 4727.8752 |  | 18086.2455 |  |  |  | 163.4068
|  |  | 0 | 0
Total |  |  | 187348.8183 | 222079.1942 |  | 174555.9274 |  | 209254.3699 |  |  |  | 161.3774
|  |  | 0 | 0
NM 1.0 Total MWh |  |  | 187833.7444 | 192523.4811 |  | 175040.8536 |  | 179698.6568
NM 2.0 Total MWh |  |  | 38194.3034 | 61111.1078 |  | 38194.3034 |  | 61111.1078
NM 2.1 Total MWh |  |  | 6118.6522 | 22705.5592 |  | 6118.6522 |  | 22705.5592
|  |  | 0 | 0
Total |  |  | 232146.7001 | 276340.1481 |  | 219353.8092 |  | 263515.3238
|  |  | 0 | 0
NM 1.0 Used MWh |  |  | 35680.8866 | 37076.7444 |  | 35680.8866 |  | 37076.7444
NM 2.0 Used MWh |  |  | 7726.2182 | 12564.8958 |  | 7726.2182 |  | 12564.8958
NM 2.1 Used MWh |  |  | 1390.777 | 4619.3136 |  | 1390.777 |  | 4619.3136
|  |  | 0 | 0
Total |  |  | 44797.8818 | 54260.9539 |  | 44797.8818 |  | 54260.9539
|  |  | 0 | 0
NM 1.0 Total $/MWh |  |  | 213.763 | 214.6438 |  | 218.5469 |  | 219.2511
NM 2.0 Total $/MWh |  |  | 128.3849 | 124.8237 |  | 128.3849 |  | 124.8237
NM 2.1 Total $/MWh |  |  | 138.0632 | 127.2195 |  | 138.0632 |  | 127.2195
Total |  |  | 197.9678 | 187.8894 |  | 200.6295 |  | 189.3898
Note on C19: Watts, Charles: The formula used is meant to correct to the required MWh to be supplied by other resources in the month. Given a certain level of retail sales (customer consumption), it's the actual NM generation that determines how much other generation is needed, so to get that "other supply volume" correct, the model should use actual NM. Over the course of the year the volume ifference is immaterial
Note on C20: Watts, Charles: The formula removes the "actual" non-solar NM, then multiplies the billed solar volume by the actual-to-billed ratio, then adds back the actual non-solar.