## Summary
Table 1.2 - Twenty-five Year Impact of Incremental 20 MW of Net Metering
NPV of Net Metering Output in MWh | MWh
Own Use | 75987.7837
Excess Generation | 292227.3964
Total Output | 368215.1801
NPV of Costs $000s | $ 000s | Levelized $/MWh | Levelized cents/kWh
Sales Offset by Own Use | 16722693.1625 | 220.0708 | 22.0071
Excess Generation | 59541585.6584 | 203.7509 | 20.3751
Adders/Adjustors (includes RECs) | 1825687.714 | 4.9582 | 0.49582
Total Cost | 78089966.5348 | 212.077 | 21.2077
NPV of Power Supply Benefits $000s
Avoided Power Cost | -17375428.5065 | -47.1882 | -4.7188
Transferred RECs | -7131332.1609 | -19.3673 | -1.9367
Avoided Capacity/RNS | -6180412.5809 | -16.7848 | -1.6785
Total Power Supply Benefits | -30687173.2482 | -83.3403 | -8.334
NPV of Net Cost/(Benefit) $000s | 47402793.2866 | 128.7367 | 12.8737

## Multiyear Analysis Benefits
Green Mountain Power
Net Metering Multiyear Value Analysis
Assumptions
Nameplate | 20 | MW
Expected NCF | 17.5%
Annual Panel Degradation | 0.5%
Avoided losses - energy | 4.5% | Average line losses
Losses for RNS | 8.9% | Average marginal line losses
Losses for Capacity | 15% | Marginal
Reserve Margin | 30% | Based on recent history
2018 Average RNS Peak coincidence | 1.021% | Observed actual
RNS Peak Scalar | 3.5% | Assumes that peak coincidence slowly deteriorates
2018 FCM Peak coincidence | 29.56% | Observed actual
Year FCM Value Starts | 1 | Use either 1 or 2 (e.g., start receiving capacity on day one or receive capacity starting June of year 2)
FCM Peak Scalar | 3.5% | Assumes that peak coincidence slowly deteriorates
LMP Adjustment Factor | 95% | Solar shape as percentage of ATC (e.g., 7 x 24) shape
LMP Shape Scalar | 0.3% | Assumes that solar shaped output slowly becomes less valuable
Beginning year for scalar | 2019
|  | Annual | Adjusted | Energy | Capacity | Capacity | Capacity | RNS | RNS | RNS | REC | REC | Total |  |  | Output at | % of | Peak/Margin | Output at | Peak/Margin | Detail in cents/kWh
Year | Annual Output | Energy $/MWh | Energy | Value | $/kW-Month | Delivered | Value | $/kW year | Delivered | Value | Price $/MWh | Value | Value | $/MWh | Cents/kWh | FCM Peak | Nameplate | Adj FCM | RNS Peaks | Adj RNS | Energy | Capacity | RNS | RECs | Total
2020 | 30660 | 42.0754 | 41.6433 | 1276782.045 | 6.3092 | 8.4852 | 642411.7822 | 118.3779 | 0.22547 | 26691.2478 | 30 | 919800 | 2865685.075 | 93.4666 | 9.3467 | 5.6757 | 28.38% | 8.4852 | 0.19607 | 0.22547 | 4.1643 | 2.0953 | 0.087056 | 3 | 9.3467
2021 | 30507 | 41.7574 | 41.2043 | 1257021.1054 | 5.0208 | 8.1472 | 490871.3632 | 123.7894 | 0.2165 | 26799.8469 | 30 | 915210 | 2689902.3156 | 88.1733 | 8.8173 | 5.4497 | 27.25% | 8.1472 | 0.18826 | 0.2165 | 4.1204 | 1.609 | 0.087848 | 3 | 8.8173
2022 | 30354 | 39.9621 | 39.3129 | 1193303.7666 | 4.2842 | 7.8228 | 402169.0483 | 128.6091 | 0.20787 | 26734.4248 | 30 | 910620 | 2532827.2397 | 83.4429 | 8.3443 | 5.2326 | 26.16% | 7.8228 | 0.18076 | 0.20787 | 3.9313 | 1.3249 | 0.088075 | 3 | 8.3443
2023 | 30202 | 38.5673 | 37.829 | 1142511.458 | 4.1552 | 7.5112 | 374527.3563 | 133.2951 | 0.19959 | 26605.0259 | 30 | 906060 | 2449703.8401 | 81.1106 | 8.1111 | 5.0242 | 25.12% | 7.5112 | 0.17356 | 0.19959 | 3.7829 | 1.2401 | 0.08809 | 3 | 8.1111
2024 | 30051 | 38.8789 | 38.0171 | 1142451.8721 | 4.73 | 7.2121 | 409358.5694 | 137.8188 | 0.19165 | 26412.4272 | 16 | 480816 | 2059038.8687 | 68.5181 | 6.8518 | 4.8241 | 24.12% | 7.2121 | 0.16665 | 0.19165 | 3.8017 | 1.3622 | 0.087892 | 1.6 | 6.8518
2025 | 29901 | 40.1727 | 39.1666 | 1171120.5066 | 4.889 | 6.9249 | 406265.1189 | 142.2979 | 0.18401 | 26184.7702 | 15.5 | 463465.5 | 2067035.8957 | 69.1293 | 6.9129 | 4.632 | 23.16% | 6.9249 | 0.16001 | 0.18401 | 3.9167 | 1.3587 | 0.087572 | 1.55 | 6.9129
2026 | 29752 | 41.6155 | 40.4519 | 1203526.4164 | 5.1662 | 6.6491 | 412203.8668 | 146.9226 | 0.17669 | 25959.0755 | 15 | 446280 | 2087969.3587 | 70.1791 | 7.0179 | 4.4476 | 22.24% | 6.6491 | 0.15364 | 0.17669 | 4.0452 | 1.3855 | 0.087252 | 1.5 | 7.0179
2027 | 29603 | 42.9761 | 41.6537 | 1233074.4811 | 5.7282 | 6.3843 | 438849.5656 | 151.6976 | 0.16965 | 25735.3261 | 15 | 444045 | 2141704.3728 | 72.3475 | 7.2348 | 4.2704 | 21.35% | 6.3843 | 0.14752 | 0.16965 | 4.1654 | 1.4824 | 0.086935 | 1.5 | 7.2348
2028 | 29455 | 44.4043 | 42.9077 | 1263846.3035 | 6.4156 | 6.13 | 471937.0675 | 156.6277 | 0.16289 | 25513.5053 | 15 | 441825 | 2203121.8762 | 74.7962 | 7.4796 | 4.1004 | 20.5% | 6.13 | 0.14165 | 0.16289 | 4.2908 | 1.6022 | 0.086619 | 1.5 | 7.4796
2029 | 29308 | 46.0123 | 44.3289 | 1299191.4012 | 7.1 | 5.8859 | 501477.3389 | 161.7181 | 0.15641 | 25293.5964 | 15 | 439620 | 2265582.3366 | 77.3025 | 7.7303 | 3.9371 | 19.69% | 5.8859 | 0.136 | 0.15641 | 4.4329 | 1.7111 | 0.086303 | 1.5 | 7.7303
2030 | 29161 | 47.6597 | 45.771 | 1334728.131 | 7.7079 | 5.6515 | 522733.7469 | 166.974 | 0.15018 | 25075.583 | 15 | 437415 | 2319952.4609 | 79.5567 | 7.9557 | 3.7803 | 18.9% | 5.6515 | 0.13059 | 0.15018 | 4.5771 | 1.7926 | 0.08599 | 1.5 | 7.9557
2031 | 29015 | 49.402 | 47.3072 | 1372616.9572 | 8.1231 | 5.4264 | 528954.5694 | 172.4006 | 0.1442 | 24859.4487 | 15 | 435225 | 2361655.9753 | 81.3943 | 8.1394 | 3.6297 | 18.15% | 5.4264 | 0.12539 | 0.1442 | 4.7307 | 1.823 | 0.085678 | 1.5 | 8.1394
2032 | 28870 | 51.2809 | 48.9582 | 1413424.6775 | 8.2856 | 5.2103 | 518046.7327 | 178.0036 | 0.13845 | 24645.1774 | 15 | 433050 | 2389166.5876 | 82.756 | 8.2756 | 3.4852 | 17.43% | 5.2103 | 0.12039 | 0.13845 | 4.8958 | 1.7944 | 0.085366 | 1.5 | 8.2756
2033 | 28726 | 53.121 | 50.5675 | 1452603.4413 | 8.4513 | 5.0028 | 507363.832 | 183.7888 | 0.13294 | 24432.7529 | 15 | 430890 | 2415290.0262 | 84.0803 | 8.408 | 3.3464 | 16.73% | 5.0028 | 0.1156 | 0.13294 | 5.0568 | 1.7662 | 0.085054 | 1.5 | 8.408
2034 | 28582 | 55.2006 | 52.3858 | 1497292.3647 | 8.6203 | 4.8036 | 496901.2288 | 189.7619 | 0.12765 | 24222.1593 | 15 | 428730 | 2447145.7528 | 85.6184 | 8.5618 | 3.2131 | 16.07% | 4.8036 | 0.111 | 0.12765 | 5.2386 | 1.7385 | 0.084746 | 1.5 | 8.5618
2035 | 28439 | 57.4575 | 54.3609 | 1545969.6351 | 8.7927 | 4.6123 | 486654.3801 | 195.9292 | 0.12256 | 24013.381 | 15 | 426585 | 2483222.3961 | 87.3175 | 8.7318 | 3.0851 | 15.43% | 4.6123 | 0.10658 | 0.12256 | 5.4361 | 1.7112 | 0.084438 | 1.5 | 8.7318
2036 | 28297 | 59.8629 | 56.4718 | 1597982.5246 | 8.9686 | 4.4286 | 476618.8368 | 202.2969 | 0.11768 | 23806.4021 | 15 | 424455 | 2522862.7635 | 89.1565 | 8.9157 | 2.9623 | 14.81% | 4.4286 | 0.10233 | 0.11768 | 5.6472 | 1.6843 | 0.08413 | 1.5 | 8.9157
2037 | 28156 | 62.2911 | 58.5827 | 1649454.5012 | 9.1479 | 4.2522 | 466790.2414 | 208.8715 | 0.11299 | 23601.2073 | 15 | 422340 | 2562185.95 | 90.9996 | 9.1 | 2.8443 | 14.22% | 4.2522 | 0.098256 | 0.11299 | 5.8583 | 1.6579 | 0.083823 | 1.5 | 9.1
2038 | 28015 | 64.8622 | 60.819 | 1703844.285 | 9.3309 | 4.0829 | 457164.3265 | 215.6598 | 0.10849 | 23397.7811 | 15 | 420225 | 2604631.3926 | 92.9727 | 9.2973 | 2.731 | 13.66% | 4.0829 | 0.094343 | 0.10849 | 6.0819 | 1.6319 | 0.083519 | 1.5 | 9.2973
2039 | 27875 | 67.5811 | 63.1807 | 1761162.0125 | 9.5175 | 3.9203 | 447736.9123 | 222.6688 | 0.10417 | 23196.1084 | 15 | 418125 | 2650220.0332 | 95.0752 | 9.5075 | 2.6223 | 13.11% | 3.9203 | 0.090585 | 0.10417 | 6.3181 | 1.6062 | 0.083215 | 1.5 | 9.5075
2040 | 27735 | 70.5158 | 65.7201 | 1822745.5868 | 9.7079 | 3.7642 | 438503.9056 | 229.9055 | 0.10002 | 22996.1739 | 15 | 416025 | 2700270.6662 | 97.3597 | 9.736 | 2.5178 | 12.59% | 3.7642 | 0.086978 | 0.10002 | 6.572 | 1.581 | 0.082914 | 1.5 | 9.736
2041 | 27597 | 73.6058 | 68.3953 | 1887503.7143 | 9.902 | 3.6143 | 429461.2973 | 237.3774 | 0.096041 | 22797.9626 | 15 | 413955 | 2753717.9742 | 99.7832 | 9.9783 | 2.4176 | 12.09% | 3.6143 | 0.083514 | 0.096041 | 6.8395 | 1.5562 | 0.08261 | 1.5 | 9.9783
2042 | 27459 | 76.8552 | 71.2063 | 1955253.7917 | 10.1001 | 3.4703 | 420605.1611 | 245.0922 | 0.092216 | 22601.4599 | 15 | 411885 | 2810345.4127 | 102.347 | 10.2347 | 2.3213 | 11.61% | 3.4703 | 0.080188 | 0.092216 | 7.1206 | 1.5318 | 0.08231 | 1.5 | 10.2347
2043 | 27321 | 80.3476 | 74.2159 | 2027652.6039 | 10.3021 | 3.3321 | 411931.6518 | 253.0577 | 0.088544 | 22406.6508 | 15 | 409815 | 2871805.9065 | 105.1135 | 10.5113 | 2.2288 | 11.14% | 3.3321 | 0.076994 | 0.088544 | 7.4216 | 1.5077 | 0.082013 | 1.5 | 10.5113
2044 | 27185 | 83.8742 | 77.2359 | 2099659.3007 | 10.5081 | 3.1994 | 403437.0033 | 261.2821 | 0.085017 | 22213.5209 | 15 | 407775 | 2933084.8249 | 107.8935 | 10.7894 | 2.1401 | 10.7% | 3.1994 | 0.073928 | 0.085017 | 7.7236 | 1.484 | 0.081712 | 1.5 | 10.7894
NPV of Cost |  |  |  | 17375428.5065 |  |  | 5863282.4054 |  |  | 317130.1755 |  | 7131332.1609 | 30687173.2482 |  | 8.334
NPV of Generation in MWh |  |  |  | 368215.1801 |  |  | 368215.1801 |  |  | 368215.1801 |  | 368215.1801
Levelized Cost - cents/kWh |  |  |  | 4.7188 |  |  | 1.5924 |  |  | 0.086126 |  | 1.9367

## Multiyear Analysis Cost
2.72% | = Assumed Annual Base Rate increase (same as FY20 - FY22)
154.17 | = Blended rate per Excess MWh for NM2.0. Assume cost increases by 2.72%.
Assumed breakout of projects: 33% small, 25% medium, 42% large.
Assume solar net metering percentages by "own use" and "excess", as well as by customer class, are same as Itron forecast.
Adjustors
|  |  |  | Residential |  |  | Commercial |  |  | Industrial |  |  | Average Incremental $/kWh |  |  | Lost Revenue Due to Solar Net Metering |  |  |  | Excess Cost |  |  | RES |  |  | Small |  |  |  |  | Medium |  |  |  |  | Large
Year | Annual Output | MWh Excess | MWh Own Use | MWh Total | MWh Excess | MWh Own Use | MWh Total | MWh Excess | MWh Own Use | MWh Total | MWh Excess | MWh Own Use | Res | Com | Ind | Res | Com | Ind | Total | Cost per MWh | Excess MWh | Total | Cost per MWh | MWh | Total | % Small | REC Adjustor | Site Adjustor | MWh | Total Adj. | % Medium | REC Adjustor | Site Adjustor | MWh | Total Adj. | % Large | REC Adjustor | Site Adjustor | MWh | Total Adj. | Total Net Adjustor | Year | Annual Output | Total Cost
|  | 79.36% | 20.64% | 32.59% | 12.2% | 20.39% | 51.6% | 50.07% | 1.527% | 15.81% | 17.09% | -1.278% | 0.16446 | 0.15168 | 0.11596 |  |  |  |  | 154.17 |  |  | Assumes all NM 2.1 "B" |  |  | 54% | 0 | 10 |  |  | 24.95% | 0 | 0 |  |  | 21.05% | 0 | -20
2020 | 30660 | 24332.761 | 6327.239 | 9992.5931 | 3741.7265 | 6250.8666 | 15819.4047 | 15351.1503 | 468.2544 | 4848.0022 | 5239.8842 | -391.882 | 0.16893 | 0.15581 | 0.11911 | 1055979.5998 | 72959.0084 | -46677.3843 | 1082261.2239 | 158.3634 | 24332.761 | 3853419.347 | 10 | 30660 | 306600 | 54% | 0 | 10 | 16556.4 | 165564 | 24.95% | 0 | 0 | 7649.354 | 0 | 21.05% | 0 | -20 | 6454.246 | -129084.9206 | 36479.0794 | 2020 | 30660 | 5278759.6502
2021 | 30507 | 24211.3353 | 6295.6647 | 9942.7279 | 3723.0545 | 6219.6734 | 15740.4625 | 15274.5448 | 465.9177 | 4823.8096 | 5213.736 | -389.9264 | 0.17353 | 0.16005 | 0.12235 | 1079289.3472 | 74569.5092 | -47707.7433 | 1106151.1132 | 162.6709 | 24211.3353 | 3938479.9217 | 10 | 30507 | 305070 | 54% | 0 | 10 | 16473.78 | 164737.8 | 24.95% | 0 | 0 | 7611.182 | 0 | 21.05% | 0 | -20 | 6422.038 | -128440.7591 | 36297.0409 | 2021 | 30507 | 5385998.0758
2022 | 30354 | 24089.9096 | 6264.0904 | 9892.8627 | 3704.3824 | 6188.4803 | 15661.5202 | 15197.9392 | 463.581 | 4799.6171 | 5187.5879 | -387.9708 | 0.17825 | 0.1644 | 0.12568 | 1103085.889 | 76213.6434 | -48759.62 | 1130539.9123 | 167.0956 | 24089.9096 | 4025316.8779 | 10 | 30354 | 303540 | 54% | 0 | 10 | 16391.16 | 163911.6 | 24.95% | 0 | 0 | 7573.0101 | 0 | 21.05% | 0 | -20 | 6389.8299 | -127796.5975 | 36115.0025 | 2022 | 30354 | 5495511.7928
2023 | 30202 | 23969.2775 | 6232.7225 | 9843.3234 | 3685.8325 | 6157.491 | 15583.094 | 15121.8344 | 461.2596 | 4775.5826 | 5161.6106 | -386.028 | 0.1831 | 0.16887 | 0.1291 | 1127415.7903 | 77894.628 | -49835.0727 | 1155475.3456 | 171.6406 | 23969.2775 | 4114100.139 | 10 | 30202 | 302020 | 54% | 0 | 10 | 16309.08 | 163090.8 | 24.95% | 0 | 0 | 7535.0877 | 0 | 21.05% | 0 | -20 | 6357.8323 | -127156.6462 | 35934.1538 | 2023 | 30202 | 5607529.6384
2024 | 30051 | 23849.439 | 6201.561 | 9794.1101 | 3667.4045 | 6126.7056 | 15505.1836 | 15046.2302 | 458.9534 | 4751.7063 | 5135.8043 | -384.098 | 0.18808 | 0.17347 | 0.13261 | 1152291.4758 | 79613.3216 | -50934.6507 | 1180970.1466 | 176.3092 | 23849.439 | 4204875.0438 | 10 | 30051 | 300510 | 54% | 0 | 10 | 16227.54 | 162275.4 | 24.95% | 0 | 0 | 7497.4147 | 0 | 21.05% | 0 | -20 | 6326.0453 | -126520.9051 | 35754.4949 | 2024 | 30051 | 5722109.6853
2025 | 29901 | 23730.3942 | 6170.6058 | 9745.2226 | 3649.0986 | 6096.124 | 15427.7893 | 14971.1267 | 456.6626 | 4727.9881 | 5110.1689 | -382.1808 | 0.19319 | 0.17819 | 0.13622 | 1177725.6787 | 81370.6038 | -52058.9168 | 1207037.3657 | 181.1048 | 23730.3942 | 4297688.058 | 10 | 29901 | 299010 | 54% | 0 | 10 | 16146.54 | 161465.4 | 24.95% | 0 | 0 | 7459.9913 | 0 | 21.05% | 0 | -20 | 6294.4687 | -125889.3741 | 35576.0259 | 2025 | 29901 | 5839311.4496
2026 | 29752 | 23612.143 | 6139.857 | 9696.6611 | 3630.9148 | 6065.7464 | 15350.9109 | 14896.524 | 454.387 | 4704.428 | 5084.7043 | -380.2764 | 0.19845 | 0.18303 | 0.13992 | 1203731.4498 | 83167.3765 | -53208.4479 | 1233690.3784 | 186.0308 | 23612.143 | 4392586.8056 | 10 | 29752 | 297520 | 54% | 0 | 10 | 16066.08 | 160660.8 | 24.95% | 0 | 0 | 7422.8173 | 0 | 21.05% | 0 | -20 | 6263.1027 | -125262.0534 | 35398.7466 | 2026 | 29752 | 5959195.9305
2027 | 29603 | 23493.8918 | 6109.1082 | 9648.0996 | 3612.7309 | 6035.3687 | 15274.0325 | 14821.9212 | 452.1114 | 4680.8679 | 5059.2398 | -378.3719 | 0.20385 | 0.18801 | 0.14373 | 1230280.6063 | 85001.6923 | -54381.9982 | 1260900.3004 | 191.0909 | 23493.8918 | 4489468.4434 | 10 | 29603 | 296030 | 54% | 0 | 10 | 15985.62 | 159856.2 | 24.95% | 0 | 0 | 7385.6434 | 0 | 21.05% | 0 | -20 | 6231.7366 | -124634.7327 | 35221.4673 | 2027 | 29603 | 6081620.2111
2028 | 29455 | 23376.4343 | 6078.5657 | 9599.864 | 3594.6691 | 6005.1949 | 15197.6701 | 14747.8191 | 449.851 | 4657.4659 | 5033.9461 | -376.4802 | 0.20939 | 0.19312 | 0.14764 | 1257426.1579 | 86877.2139 | -55581.9109 | 1288721.4609 | 196.2886 | 23376.4343 | 4588526.4119 | 10 | 29455 | 294550 | 54% | 0 | 10 | 15905.7 | 159057 | 24.95% | 0 | 0 | 7348.7189 | 0 | 21.05% | 0 | -20 | 6200.5811 | -124011.6222 | 35045.3778 | 2028 | 29455 | 6206843.2506
2029 | 29308 | 23259.7704 | 6048.2296 | 9551.9543 | 3576.7293 | 5975.225 | 15121.8236 | 14674.2177 | 447.606 | 4634.2221 | 5008.8234 | -374.6013 | 0.21509 | 0.19838 | 0.15165 | 1285182.0676 | 88794.9059 | -56808.8032 | 1317168.1703 | 201.6276 | 23259.7704 | 4689811.6636 | 10 | 29308 | 293080 | 54% | 0 | 10 | 15826.32 | 158263.2 | 24.95% | 0 | 0 | 7312.0439 | 0 | 21.05% | 0 | -20 | 6169.6361 | -123392.7219 | 34870.4781 | 2029 | 29308 | 6334930.3121
2030 | 29161 | 23143.1064 | 6017.8936 | 9504.0446 | 3558.7895 | 5945.2551 | 15045.9772 | 14600.6163 | 445.3609 | 4610.9782 | 4983.7007 | -372.7225 | 0.22094 | 0.20377 | 0.15578 | 1313517.6047 | 90752.6452 | -58061.3168 | 1346208.9331 | 207.1119 | 23143.1064 | 4793212.0577 | 0 | 29161 | 0 | 54% | 0 |  | 15746.94 | 0 | 24.95% | 0 |  | 7275.3689 | 0 | 21.05% | 0 | -20 | 6138.6911 | -122773.8216 | -122773.8216 | 2030 | 29161 | 6016647.1692
2031 | 29015 | 23027.2361 | 5987.7639 | 9456.4608 | 3540.9718 | 5915.4891 | 14970.6467 | 14527.5155 | 443.1311 | 4587.8925 | 4958.7489 | -370.8564 | 0.22694 | 0.20932 | 0.16001 | 1342490.0347 | 92754.3882 | -59341.9829 | 1375902.44 | 212.7453 | 23027.2361 | 4898936.5644 | 0 | 29015 | 0 | 54% | 0 |  | 15668.1 | 0 | 24.95% | 0 |  | 7238.9434 | 0 | 21.05% | 0 | -20 | 6107.9566 | -122159.1315 | -122159.1315 | 2031 | 29015 | 6152679.8729
2032 | 28870 | 22912.1595 | 5957.8405 | 9409.203 | 3523.276 | 5885.9269 | 14895.8321 | 14454.9155 | 440.9166 | 4564.9649 | 4933.9679 | -369.003 | 0.23312 | 0.21501 | 0.16437 | 1372114.2994 | 94801.1673 | -60651.4619 | 1406264.0047 | 218.532 | 22912.1595 | 5007039.7083 | 0 | 28870 | 0 | 54% | 0 |  | 15589.8 | 0 | 24.95% | 0 |  | 7202.7674 | 0 | 21.05% | 0 | -20 | 6077.4326 | -121548.6516 | -121548.6516 | 2032 | 28870 | 6291755.0614
2033 | 28726 | 22797.8765 | 5928.1235 | 9362.271 | 3505.7024 | 5856.5686 | 14821.5336 | 14382.8162 | 438.7174 | 4542.1954 | 4909.3579 | -367.1625 | 0.23946 | 0.22086 | 0.16884 | 1402405.7163 | 96894.0408 | -61990.4311 | 1437309.326 | 224.4761 | 22797.8765 | 5117577.3854 | 0 | 28726 | 0 | 54% | 0 |  | 15512.04 | 0 | 24.95% | 0 |  | 7166.8409 | 0 | 21.05% | 0 | -20 | 6047.1191 | -120942.3819 | -120942.3819 | 2033 | 28726 | 6433944.3295
2034 | 28582 | 22683.5934 | 5898.4066 | 9315.3391 | 3488.1287 | 5827.2104 | 14747.235 | 14310.7168 | 436.5182 | 4519.4259 | 4884.7479 | -365.322 | 0.24597 | 0.22686 | 0.17343 | 1433329.8413 | 99030.6289 | -63357.3678 | 1469003.1024 | 230.5818 | 22683.5934 | 5230423.9039 | 0 | 28582 | 0 | 54% | 0 |  | 15434.28 | 0 | 24.95% | 0 |  | 7130.9144 | 0 | 21.05% | 0 | -20 | 6016.8056 | -120336.1122 | -120336.1122 | 2034 | 28582 | 6579090.8941
2035 | 28439 | 22570.104 | 5868.896 | 9268.733 | 3470.6771 | 5798.056 | 14673.4524 | 14239.1182 | 434.3342 | 4496.8146 | 4860.3088 | -363.4942 | 0.25266 | 0.23304 | 0.17815 | 1464950.1948 | 101215.3204 | -64755.0798 | 1501410.4354 | 236.8536 | 22570.104 | 5345811.0592 | 0 | 28439 | 0 | 54% | 0 |  | 15357.06 | 0 | 24.95% | 0 |  | 7095.2374 | 0 | 21.05% | 0 | -20 | 5986.7026 | -119734.0527 | -119734.0527 | 2035 | 28439 | 6727487.4419
2036 | 28297 | 22457.4083 | 5839.5917 | 9222.4529 | 3453.3475 | 5769.1054 | 14600.1857 | 14168.0202 | 432.1655 | 4474.3613 | 4836.0405 | -361.6792 | 0.25953 | 0.23937 | 0.18299 | 1497283.174 | 103449.2481 | -66184.292 | 1534548.1301 | 243.296 | 22457.4083 | 5463798.6865 | 0 | 28297 | 0 | 54% | 0 |  | 15280.38 | 0 | 24.95% | 0 |  | 7059.8098 | 0 | 21.05% | 0 | -20 | 5956.8102 | -119136.2035 | -119136.2035 | 2036 | 28297 | 6879210.6132
2037 | 28156 | 22345.5062 | 5810.4938 | 9176.4987 | 3436.14 | 5740.3588 | 14527.4351 | 14097.423 | 430.0121 | 4452.0662 | 4811.9432 | -359.877 | 0.26659 | 0.24589 | 0.18797 | 1530345.5908 | 105733.5736 | -67645.7474 | 1568433.417 | 249.9137 | 22345.5062 | 5584448.1354 | 0 | 28156 | 0 | 54% | 0 |  | 15204.24 | 0 | 24.95% | 0 |  | 7024.6318 | 0 | 21.05% | 0 | -20 | 5927.1282 | -118542.5644 | -118542.5644 | 2037 | 28156 | 7034338.9881
2038 | 28015 | 22233.604 | 5781.396 | 9130.5445 | 3418.9324 | 5711.6121 | 14454.6844 | 14026.8257 | 427.8587 | 4429.7711 | 4787.8459 | -358.0748 | 0.27385 | 0.25257 | 0.19308 | 1564098.8532 | 108065.6306 | -69137.7403 | 1603026.7435 | 256.7114 | 22233.604 | 5707618.5775 | 0 | 28015 | 0 | 54% | 0 |  | 15128.1 | 0 | 24.95% | 0 |  | 6989.4537 | 0 | 21.05% | 0 | -20 | 5897.4463 | -117948.9253 | -117948.9253 | 2038 | 28015 | 7192696.3957
2039 | 27875 | 22122.4955 | 5752.5045 | 9084.9163 | 3401.8469 | 5683.0694 | 14382.4496 | 13956.7291 | 425.7205 | 4407.6341 | 4763.9195 | -356.2854 | 0.28129 | 0.25944 | 0.19833 | 1598613.4315 | 110450.2878 | -70663.3855 | 1638400.3338 | 263.6939 | 22122.4955 | 5833567.1695 | 0 | 27875 | 0 | 54% | 0 |  | 15052.5 | 0 | 24.95% | 0 |  | 6954.5252 | 0 | 21.05% | 0 | -20 | 5867.9748 | -117359.4965 | -117359.4965 | 2039 | 27875 | 7354608.0068
2040 | 27735 | 22011.387 | 5723.613 | 9039.288 | 3384.7614 | 5654.5266 | 14310.2149 | 13886.6326 | 423.5824 | 4385.4971 | 4739.9931 | -354.496 | 0.28895 | 0.2665 | 0.20373 | 1633848.42 | 112884.7192 | -72220.875 | 1674512.2641 | 270.8664 | 22011.387 | 5962144.6404 | 0 | 27735 | 0 | 54% | 0 |  | 14976.9 | 0 | 24.95% | 0 |  | 6919.5966 | 0 | 21.05% | 0 | -20 | 5838.5034 | -116770.0676 | -116770.0676 | 2040 | 27735 | 7519886.8369
2041 | 27597 | 21901.8658 | 5695.1342 | 8994.3115 | 3367.92 | 5626.3916 | 14239.0121 | 13817.5374 | 421.4748 | 4363.6763 | 4716.4085 | -352.7321 | 0.2968 | 0.27375 | 0.20927 | 1669938.4968 | 115378.2297 | -73816.1618 | 1711500.5646 | 278.2339 | 21901.8658 | 6093842.4501 | 0 | 27597 | 0 | 54% | 0 |  | 14902.38 | 0 | 24.95% | 0 |  | 6885.167 | 0 | 21.05% | 0 | -20 | 5809.453 | -116189.0592 | -116189.0592 | 2041 | 27597 | 7689153.9556
2042 | 27459 | 21792.3446 | 5666.6554 | 8949.3351 | 3351.0785 | 5598.2566 | 14167.8093 | 13748.4422 | 419.3672 | 4341.8556 | 4692.8239 | -350.9683 | 0.30488 | 0.28119 | 0.21496 | 1706783.0874 | 117923.8705 | -75444.8004 | 1749262.1575 | 285.8019 | 21792.3446 | 6228293.5876 | 0 | 27459 | 0 | 54% | 0 |  | 14827.86 | 0 | 24.95% | 0 |  | 6850.7375 | 0 | 21.05% | 0 | -20 | 5780.4025 | -115608.0507 | -115608.0507 | 2042 | 27459 | 7861947.6944
2043 | 27321 | 21682.8233 | 5638.1767 | 8904.3586 | 3334.2371 | 5570.1216 | 14096.6065 | 13679.347 | 417.2596 | 4320.0348 | 4669.2393 | -349.2044 | 0.31317 | 0.28884 | 0.22081 | 1744396.5365 | 120522.6328 | -77107.4248 | 1787811.7445 | 293.5757 | 21682.8233 | 6365550.3986 | 0 | 27321 | 0 | 54% | 0 |  | 14753.34 | 0 | 24.95% | 0 |  | 6816.3079 | 0 | 21.05% | 0 | -20 | 5751.3521 | -115027.0423 | -115027.0423 | 2043 | 27321 | 8038335.1008
2044 | 27185 | 21574.8894 | 5610.1106 | 8860.034 | 3317.6397 | 5542.3943 | 14026.4356 | 13611.2531 | 415.1825 | 4298.5303 | 4645.9965 | -347.4661 | 0.32169 | 0.2967 | 0.22681 | 1782924.5805 | 123184.5856 | -78810.4769 | 1827298.6892 | 301.561 | 21574.8894 | 6506144.6963 | 0 | 27185 | 0 | 54% | 0 |  | 14679.9 | 0 | 24.95% | 0 |  | 6782.3773 | 0 | 21.05% | 0 | -20 | 5722.7227 | -114454.4542 | -114454.4542 | 2044 | 27185 | 8218988.9313
| 368215.1801 | 292227.3964 | 75987.7837 | [15 empty] | 16722693.1625 |  |  | 59541585.6584 |  |  | 2192175.0197 | [15 empty] | -366487.3057 |  |  | 78089966.5348
[19 empty] | 45.4155 |  |  | 161.7032 |  |  | 5.9535 | [15 empty] | -0.99531
Note on AR9: Watts, Charles: Assumes 75% are are preferred site
Note on AW9: Watts, Charles: Includes second year additional $10/MWh decrease in siting adjustor
Note on AG20: Watts, Charles: Still get RECs but no cost after 10 years
Note on AW20: Watts, Charles: Negative adjustors continue

## Multiyear Summary
25-Year Impact, by Year, of Incremental 20 MW Solar Net Metering Being Added
Assumptions:
1.) Assume there is no lag in terms of either costs or benefits.
2.) Assume incremental 20 MW is NM 2.1, second year pricing.
| Total Solar Costs: |  |  |  |  | Total Solar Benefits:
| Sales Offset |  |  |  | Total |  | Avoided Power | FCM / TBO | Total | Net
Year | by Own Use | Adjustors | RES | Excess | Costs | REC Sales | Purchases | Reductions | Benefits | Cost
2020 | 1082261.2239 | 36479.0794 | 306600 | 3853419.347 | 5278759.6502 | -919800 | -1276782.045 | -669103.03 | -2865685.075 | 2413074.5752
2021 | 1106151.1132 | 36297.0409 | 305070 | 3938479.9217 | 5385998.0758 | -915210 | -1257021.1054 | -517671.2101 | -2689902.3156 | 2696095.7602
2022 | 1130539.9123 | 36115.0025 | 303540 | 4025316.8779 | 5495511.7928 | -910620 | -1193303.7666 | -428903.4731 | -2532827.2397 | 2962684.5531
2023 | 1155475.3456 | 35934.1538 | 302020 | 4114100.139 | 5607529.6384 | -906060 | -1142511.458 | -401132.3821 | -2449703.8401 | 3157825.7983
2024 | 1180970.1466 | 35754.4949 | 300510 | 4204875.0438 | 5722109.6853 | -480816 | -1142451.8721 | -435770.9966 | -2059038.8687 | 3663070.8166
2025 | 1207037.3657 | 35576.0259 | 299010 | 4297688.058 | 5839311.4496 | -463465.5 | -1171120.5066 | -432449.8891 | -2067035.8957 | 3772275.5539
2026 | 1233690.3784 | 35398.7466 | 297520 | 4392586.8056 | 5959195.9305 | -446280 | -1203526.4164 | -438162.9423 | -2087969.3587 | 3871226.5718
2027 | 1260900.3004 | 35221.4673 | 296030 | 4489468.4434 | 6081620.2111 | -444045 | -1233074.4811 | -464584.8917 | -2141704.3728 | 3939915.8383
2028 | 1288721.4609 | 35045.3778 | 294550 | 4588526.4119 | 6206843.2506 | -441825 | -1263846.3035 | -497450.5727 | -2203121.8762 | 4003721.3743
2029 | 1317168.1703 | 34870.4781 | 293080 | 4689811.6636 | 6334930.3121 | -439620 | -1299191.4012 | -526770.9354 | -2265582.3366 | 4069347.9755
2030 | 1346208.9331 | -122773.8216 | 0 | 4793212.0577 | 6016647.1692 | -437415 | -1334728.131 | -547809.3299 | -2319952.4609 | 3696694.7083
2031 | 1375902.44 | -122159.1315 | 0 | 4898936.5644 | 6152679.8729 | -435225 | -1372616.9572 | -553814.0181 | -2361655.9753 | 3791023.8976
2032 | 1406264.0047 | -121548.6516 | 0 | 5007039.7083 | 6291755.0614 | -433050 | -1413424.6775 | -542691.9101 | -2389166.5876 | 3902588.4739
2033 | 1437309.326 | -120942.3819 | 0 | 5117577.3854 | 6433944.3295 | -430890 | -1452603.4413 | -531796.5849 | -2415290.0262 | 4018654.3034
2034 | 1469003.1024 | -120336.1122 | 0 | 5230423.9039 | 6579090.8941 | -428730 | -1497292.3647 | -521123.3881 | -2447145.7528 | 4131945.1413
2035 | 1501410.4354 | -119734.0527 | 0 | 5345811.0592 | 6727487.4419 | -426585 | -1545969.6351 | -510667.761 | -2483222.3961 | 4244265.0458
2036 | 1534548.1301 | -119136.2035 | 0 | 5463798.6865 | 6879210.6132 | -424455 | -1597982.5246 | -500425.2389 | -2522862.7635 | 4356347.8497
2037 | 1568433.417 | -118542.5644 | 0 | 5584448.1354 | 7034338.9881 | -422340 | -1649454.5012 | -490391.4488 | -2562185.95 | 4472153.0381
2038 | 1603026.7435 | -117948.9253 | 0 | 5707618.5775 | 7192696.3957 | -420225 | -1703844.285 | -480562.1076 | -2604631.3926 | 4588065.0031
2039 | 1638400.3338 | -117359.4965 | 0 | 5833567.1695 | 7354608.0068 | -418125 | -1761162.0125 | -470933.0207 | -2650220.0332 | 4704387.9737
2040 | 1674512.2641 | -116770.0676 | 0 | 5962144.6404 | 7519886.8369 | -416025 | -1822745.5868 | -461500.0794 | -2700270.6662 | 4819616.1707
2041 | 1711500.5646 | -116189.0592 | 0 | 6093842.4501 | 7689153.9556 | -413955 | -1887503.7143 | -452259.2599 | -2753717.9742 | 4935435.9814
2042 | 1749262.1575 | -115608.0507 | 0 | 6228293.5876 | 7861947.6944 | -411885 | -1955253.7917 | -443206.621 | -2810345.4127 | 5051602.2817
2043 | 1787811.7445 | -115027.0423 | 0 | 6365550.3986 | 8038335.1008 | -409815 | -2027652.6039 | -434338.3026 | -2871805.9065 | 5166529.1943
2044 | 1827298.6892 | -114454.4542 | 0 | 6506144.6963 | 8218988.9313 | -407775 | -2099659.3007 | -425650.5242 | -2933084.8249 | 5285904.1064
25-Year Total | 35593807.7034 | -1421838.1478 | 2997930 | 126732681.7327 | 163902581.2883 | -12704236.5 | -37304722.8835 | -12179169.9183 | -62188129.3018 | 101714451.9865
NPV | 16722693.1625 | -366487.3057 | 2192175.0197 | 59541585.6584 | 78089966.5348 | -7131332.1609 | -17375428.5065 | -6180412.5809 | -30687173.2482 | 47402793.2866
| Lost Revenue | Revenue lost due to solar net metering production
| Adjustors | Adjustors include cost of RECs transferred to RES, and Siting Adjustments
| RES | Costs incurred by retiring RECs to meet RES requirements
| Excess | Value paid for every MWh produced but not consumed onsite.
Benefits
| REC Sales | REC sales from other sources that occur because solar net metering RECs are used to meet RES Tier 2 requirements
| Avoided Power Purchases | Solar Net Metering generation displaces power supply purchases that GMP would otherwise have to make.
| FCM/TBO Reductions | Savings because Solar Net Metering reduces capacity demand obligations and transmission costs.
Note on E13: Watts, Charles: Includes site adjustor(s) and REC costs transferred out

## Avoided Costs
Green Mountain Power
Annual Avoided Cost Detail
| Energy | Capacity | RNS | RECs
Year | $/MWh | $kW-month | $/kW year | $/MWh | Source
2020 | 42.0754 | 6.3092 | 118.3779 | 30 | GMP 2018 IRP
2021 | 41.7574 | 5.0208 | 123.7894 | 30 | FCA 13 Result
2022 | 39.9621 | 4.2842 | 128.6091 | 30
2023 | 38.5673 | 4.1552 | 133.2951 | 30
2024 | 38.8789 | 4.73 | 137.8188 | 16
2025 | 40.1727 | 4.889 | 142.2979 | 15.5
2026 | 41.6155 | 5.1662 | 146.9226 | 15
2027 | 42.9761 | 5.7282 | 151.6976 | 15
2028 | 44.4043 | 6.4156 | 156.6277 | 15
2029 | 46.0123 | 7.1 | 161.7181 | 15
2030 | 47.6597 | 7.7079 | 166.974 | 15
2031 | 49.402 | 8.1231 | 172.4006 | 15
2032 | 51.2809 | 8.2856 | 178.0036 | 15
2033 | 53.121 | 8.4513 | 183.7888 | 15
2034 | 55.2006 | 8.6203 | 189.7619 | 15
2035 | 57.4575 | 8.7927 | 195.9292 | 15
2036 | 59.8629 | 8.9686 | 202.2969 | 15
2037 | 62.2911 | 9.1479 | 208.8715 | 15
2038 | 64.8622 | 9.3309 | 215.6598 | 15
2039 | 67.5811 | 9.5175 | 222.6688 | 15
2040 | 70.5158 | 9.7079 | 229.9055 | 15
2041 | 73.6058 | 9.902 | 237.3774 | 15
2042 | 76.8552 | 10.1001 | 245.0922 | 15
2043 | 80.3476 | 10.3021 | 253.0577 | 15
2044 | 83.8742 | 10.5081 | 261.2821 | 15
Note: All prices are based on 2018 IRP - energy includes carbon adder
and 2023 capacity price is actual FCA 13 auction result