## Slide 1: PUC Rule 5.100 Workshop
August 24, 2021
Vermont Department of Public Service

## Slide 2: Discrepancy Between Timelines in Rules 5.100 and 5.500
5.105(C)(2) specifies a comment period of 31 calendar days for roof-mounted photovoltaic net-metering systems of any capacity up to 500 kW.
5.105(E) requires utility to raise and provide resolution to any interconnection concerns within the 31-day comment period.
Rule 5.500 Fast Track timeline is up to 25 business days (35 calendar days).
Timelines for Rule 5.500 Feasibility Study and System Impact Study are much longer (see next two slides).
The Department has worked with developers and utilities to informally resolve some interconnection disputes that have not made it to the PUC.

## Slide 3: Rule 5.100 and Rule 5.500 Timelines

## Slide 4: Rule 5.100 and Rule 5.500 Timelines

## Slide 5: Possible Solutions for Registrations over 15 kW
Use separate application forms for Rules 5.100 and 5.500
  Rule 5.500 application submitted first to utility and all studies completed
  Then submit Rule 5.100 application with completed Rule 5.500 studies
  Retain 31-day comment deadline in 5.105(C)(2).
Use same application form for Rules 5.100 and 5.500
  Include all technical data from existing 5.500 application form on new (combined) 5.100 application
  Revise 5.105(C)(2) for 31-day comment deadline to trigger off of applicant submitting 5.500 interconnection study results.

## Slide 6: Amendments
Streamline “Major” and “Minor” distinction and bring closer in line with amendments for typical 30 V.S.A. § 248 petitions.
  Remove “50-foot limits of disturbance” disincentive for beneficial amendments?
  Bring guidance into rule.
  Possibly make de minimis and minor changes “as-built” filings (e.g. swapping like components).
Amendments which increase the size of an existing system should be entitled to which rates? Should amendments be disallowed the rates of the pre-existing system if capacity expands by an established multiplier (e.g. 5x the size etc.)?
  Should charges remain bypassable for amended NM 1.0 Systems?

## Slide 7: Other Issues
Transfers: track transfers to maintain awareness of net-metered installations on system and the person(s) responsible for the net-metered facility.
Abandonment/Expiration:
  Include expiration in naming of rule section, not all unused CPGs are intentionally abandoned; causes confusion.
  2-year CPG term prior to expiration reduces administrative burden for review of good cause extension requests but could also allow sub-optimal construction timelines and also negative net-metering rate effects (compare biennial updates with 2-year CPG term).
  What are interconnection queue and interconnection study ramifications?
Simultaneous Net-Metering and Wholesale Market Participation:
  Disallow due to double compensation? What is retail rate for net-metering paying for (e.g. energy, capacity, RECs, etc.)? End capacity market supply obligation prior to receiving net-metering rate? Issues relate to how net-metering is compensated.