## NM Data
Net Metering Systems - Data for 2022 Biennial Update
|  |  | 1a |  | 1b | 1c | 1d | 1e | 1f | 2 | 3 | 4 | 5 | 6 | 7 | 8
|  |  | INTERCONNECTION |  |  | CPG REGISTRATION / APPLICATION |  |  | SYSTEM DATA | [5 empty] | LOCATION
Utility | System Name | Application Status | Interconnection Application Date | Interconnection Date | CPG Number | Completed CPG Application Date | CPG Issued / Deemed Issued Date | NM System (Vintage) | AC (Inverter) Capacity kW | Fuel Type | REC Disposition | Applicable Siting Adjustor | Category | Preferred Site Type | Municipality | Zip Code | CPG Application Year | Interconnection Application Year | Interconnection Year
Burlington Electric Department | 180 EAST AVE UNITS 25 & 26 | Installed |  | 2020-01-09 | 19-2504-NMR | 2019-06-27 | 2019-07-15 | NM 2.1 | 10 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2019 |  | 2020
Burlington Electric Department | 44 LAKESIDE AVE | Installed |  | 2020-01-28 | 18-1768-NMR | 2018-06-13 | 2018-09-27 | NM 2.0 | 400 | Solar | Transfer to Utility | -0.01 | CAT III | Roof Mount | Burlington | 05401 | 2018 |  | 2020
Burlington Electric Department | 50 LAKESIDE AVE | Installed |  | 2020-01-28 | 18-1769-NMR | 2018-06-13 | 2018-09-27 | NM 2.0 | 400 | Solar | Transfer to Utility | -0.01 | CAT III | Roof Mount | Burlington | 05401 | 2018 |  | 2020
Burlington Electric Department | 180 EAST AVE CARPORT | Installed |  | 2020-02-03 | 19-2426-NMR | 2019-06-26 | 2019-07-12 | NM 2.1 | 5 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2019 |  | 2020
Burlington Electric Department | 2 AVENUE D | Installed |  | 2020-02-19 | 19-1848-NMR | 2019-06-10 | 2019-06-27 | NM 2.1 | 7.18 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2019 |  | 2020
Burlington Electric Department | 4 AVENUE D | Installed |  | 2020-02-19 | 19-1846-NMR | 2019-06-10 | 2019-06-27 | NM 2.1 | 7.18 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2019 |  | 2020
Burlington Electric Department | 58 CHERRY LN | Installed |  | 2020-03-02 | 19-4375-NMR | 2019-10-28 | 2019-11-13 | NM 2.2 | 4.74 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2019 |  | 2020
Burlington Electric Department | 83 STANIFORD FARMS RD | Installed |  | 2020-03-04 | 20-0011-NMR | 2020-01-03 | 2020-01-21 | NM 2.2 | 5 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2020
Burlington Electric Department | 69 CHARLOTTE ST | Installed |  | 2020-03-05 | 19-4849-NMR | 2019-12-11 | 2019-12-27 | NM 2.2 | 4.13 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2019 |  | 2020
Burlington Electric Department | 10 ALFRED ST | Installed |  | 2020-06-10 14:41 | 19-4620-NMR | 2019-11-19 | 2019-12-05 | NM 2.2 | 14.4 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2019 |  | 2020
Burlington Electric Department | 5 RIDGEWOOD DR | Installed |  | 2020-06-18 | 19-5018-NMR | 2020-02-18 | 2020-01-16 | NM 2.2 | 6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2020
Burlington Electric Department | 132 STANIFORD RD | Installed |  | 2020-06-18 | 20-0490-NMR | 2020-02-24 | 2020-03-11 | NM 2.2 | 7.6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2020
Burlington Electric Department | 144 CLIFF ST BSMNT | Installed |  | 2020-06-26 | 20-0751-NMR | 2020-03-20 | 2020-04-06 | NM 2.0 | 3 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020
Burlington Electric Department | 208 FLYNN AVE BLDG4 | Installed |  | 2020-07-10 | 19-3678-NMR | 2019-09-27 | 2019-10-29 | NM 2.2 | 80.54 | Solar | Transfer to Utility | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2019 |  | 2020
Burlington Electric Department | 1150 AIRPORT DR | Installed |  | 2020-07-10 | 19-4704-NMR | 2019-11-26 | 2020-01-16 | NM 2.2 | 30 | Solar | Transfer to Utility | 0.01 | CAT II | Roof Mount | S Burlington | 05403 | 2019 |  | 2020
Burlington Electric Department | 208 FLYNN AVE BLDG3 | Installed |  | 2020-07-10 | 20-0437-NMR | 2020-02-18 | 2020-05-21 | NM 2.2 | 58.12 | Solar | Retain | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2020 |  | 2020
Burlington Electric Department | 35 ALGIRD ST | Installed |  | 2020-07-17 | 19-4946-NMR | 2019-12-20 | 2020-01-08 | NM 2.2 | 3.8 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2019 |  | 2020
Burlington Electric Department | 3173 NORTH AVE | Installed |  | 2020-07-17 | 20-0118-NMR | 2020-01-15 | 2020-02-11 | NM 2.2 | 3.8 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2020
Burlington Electric Department | 62 STANIFORD RD | Installed |  | 2020-07-21 | 20-0408-NMR | 2020-02-13 | 2020-03-02 | NM 2.2 | 6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2020
Burlington Electric Department | 298 COLLEGE ST | Installed |  | 2020-07-30 | 19-2429-NMR | 2019-06-27 | 2019-07-30 | NM 2.1 | 120 | Solar | Transfer to Utility | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2019 |  | 2020
Burlington Electric Department | 354 NORTH ST | Installed |  | 2020-08-13 | 20-0989-NMR | 2020-04-20 | 2020-05-05 | NM 2.2 | 3.6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020 |  | 2020
Burlington Electric Department | 19 LINDEN TER | Installed |  | 2020-08-24 | 20-1583-NMR | 2020-06-23 | 2020-07-09 | NM 2.2 | 3.8 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020 |  | 2020
Burlington Electric Department | 112 LAKEWOOD PKWY | Installed |  | 2020-09-25 | 20-1649-NMR | 2020-06-26 | 2020-07-14 | NM 2.2 | 3.8 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2020
Burlington Electric Department | 44 CAYUGA CT | Installed |  | 2020-10-02 | 20-2003-NMR | 2020-07-27 | 2020-08-11 | NM 2.2 | 8 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2020
Burlington Electric Department | 131 LAKEVIEW TER | Installed |  | 2020-10-30 | 20-1899-NMR | 2020-07-16 | 2020-07-31 | NM 2.2 | 8.85 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020 |  | 2020
Burlington Electric Department | 65 OAKLEDGE DR | Installed |  | 2020-11-03 | 20-0689-NMR | 2020-03-16 | 2020-03-31 | NM 2.2 | 13.8 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020 |  | 2020
Burlington Electric Department | 101 QUEEN CITY PARK RD | Installed |  | 2020-11-20 | 20-1326-NMR | 2020-05-27 | 2020-06-27 15:45 | NM 2.2 | 150 | Solar | Transfer to Utility | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2020 |  | 2020
Burlington Electric Department | 51 STIRLING PL | Installed |  | 2020-11-24 | 20-1427-NMR | 2020-06-03 | 2020-06-18 | NM 2.2 | 10.32 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020 |  | 2020
Burlington Electric Department | 108 NORTHVIEW DR | Installed |  | 2020-12-01 | 20-2390-NMR | 2020-08-25 | 2020-09-10 | NM 2.2 | 7.6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2020
Burlington Electric Department | 92 CURTIS AVE | Installed |  | 2020-12-30 | 20-2310-NMR | 2020-08-19 | 2020-09-03 | NM 2.2 | 4.72 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 5408 | 2020 |  | 2020
Burlington Electric Department | 35 CAMBRIAN WAY | Installed |  | 2021-01-06 | 20-0802-NMR | 2019-06-18 | 2020-04-30 | NM 2.1 | 72 | Solar | Transfer to Utility | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2019 |  | 2021
Burlington Electric Department | 53 SUNSET DR | Installed |  | 2021-01-06 | 20-2840-NMR | 2020-10-01 | 2020-10-16 | NM 2.2 | 6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2021
Burlington Electric Department | 339 NORTH ST 1FL | Installed |  | 2021-01-25 | 20-2322-NMR | 2020-08-20 | 2020-09-04 | NM 2.2 | 2.16 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020 |  | 2021
Burlington Electric Department | 30 PLEASANT AVE | Installed |  | 2021-01-25 | 20-2702-NMR | 2020-09-21 | 2020-10-06 | NM 2.2 | 3.8 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2021
Burlington Electric Department | 95 EDGEMOOR DR | Installed |  | 2021-01-25 | 20-2768-NMR | 2020-09-25 | 2020-10-12 | NM 2.2 | 10 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2021
Burlington Electric Department | 50 ALEXIS DR | Installed |  | 2021-02-03 | 20-2703-NMR | 2020-09-21 | 2020-10-06 | NM 2.2 | 6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2021
Burlington Electric Department | 58 SUNSET CLFS | Installed |  | 2021-02-03 | 20-2872-NMR | 2020-10-02 | 2020-10-19 | NM 2.2 | 6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2021
Burlington Electric Department | 29 GREY MEADOW DR | Installed |  | 2021-02-03 | 20-3401-NMR | 2020-11-09 | 2020-11-25 | NM 2.2 | 4.43 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2021
Burlington Electric Department | 75 DEFOREST RD | Installed |  | 2021-02-05 | 20-3300-NMR | 2020-10-30 | 2020-11-17 | NM 2.2 | 7.06 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020 |  | 2021
Burlington Electric Department | 25 ALEXIS DR | Installed |  | 2021-02-24 | 21-0025-NMR | 2021-01-05 | 2021-01-21 | NM 2.2 | 6.2 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 370 S WILLARD ST | Installed |  | 2021-03-08 | 20-0740-NMR | 2020-03-19 | 2020-04-03 | NM 2.2 | 10 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020 |  | 2021
Burlington Electric Department | 134 ETHAN ALLEN PKWY | Installed |  | 2021-04-15 | 21-0989-NMR | 2021-03-03 | 2021-03-19 | NM 2.2 | 4.72 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 43 CHARITY ST | Installed |  | 2021-05-12 | 21-0040-NMR | 2021-01-06 | 2021-01-22 | NM 2.2 | 3.54 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 1 SUMMIT RDG | Installed |  | 2021-06-08 | 21-0515-NMR | 2021-01-29 | 2021-02-16 | NM 2.2 | 12.39 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2021 |  | 2021
Burlington Electric Department | 241 SANDRA CIR | Installed |  | 2021-06-30 | 21-1298-NMR | 2021-04-06 | 2021-04-21 | NM 2.3 | 4.42 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 27 GREY MEADOW DR | Installed |  | 2021-07-07 | 21-1011-NMR | 2021-03-04 | 2021-03-19 | NM 2.2 | 7.38 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 101 ARLINGTON CT | Installed |  | 2021-07-09 | 21-1339-NMR | 2021-04-09 | 2021-04-26 | NM 2.3 | 3.25 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 281 INTERVALE RD FARM | Installed |  | 2021-07-19 | 19-2338-NMR | 2019-06-26 | 2019-07-27 | NM 2.1 | 13.6 | Solar | Transfer to Utility | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2019 |  | 2021
Burlington Electric Department | 282 INTERVALE RD GREEN WHSE | Installed |  | 2021-07-19 | 19-2356-NMR | 2019-06-26 | 2019-07-27 | NM 2.1 | 17.6 | Solar | Transfer to Utility | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2019 |  | 2021
Burlington Electric Department | 14 VILLAGE GRN | Installed |  | 2021-07-20 | 21-1070-NMR | 2021-03-12 | 2021-03-29 | NM 2.3 | 4.72 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 185 WOODLAWN RD | Installed |  | 2021-08-04 | 21-1931-NMR | 2021-05-27 | 2021-06-14 | NM 2.3 | 6 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 77 PINE ST | Installed |  | 2021-08-25 | 20-2300-NMR | 2020-08-18 | 2020-09-18 | NM 2.2 | 100 | Solar | Transfer to Utility | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2020 |  | 2021
Burlington Electric Department | 7 SURF RD | Installed |  | 2021-09-13 | 20-3935-NMR | 2020-12-28 | 2021-01-13 | NM 2.2 | 6.49 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2021
Burlington Electric Department | 28 PROSPECT HILL | Installed |  | 2021-09-14 | 21-2388-NMR | 2021-07-06 | 2021-07-21 | NM 2.3 | 3.5 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05401 | 2021 |  | 2021
Burlington Electric Department | 81 CRESCENT BEACH DR | Installed |  | 2021-09-21 | 21-1296-NMR | 2021-04-06 | 2021-04-21 | NM 2.3 | 9.74 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 12 OVERLAKE PARK | Installed |  | 2021-10-28 | 21-1230-NMR | 2021-03-30 | 2021-04-14 | NM 2.0 | 3 | Solar | Transfer to Utility | 0.01 | CAT I | Ground Mount | Burlington | 05401 | 2021 |  | 2021
Burlington Electric Department | 128 BIRCH CT | Installed |  | 2021-11-15 | 21-2968-NMR | 2021-08-12 | 2021-08-30 | NM 2.3 | 3.8 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 97 OVERLAKE PARK | Installed |  | 2021-11-22 | 21-0962-NMR | 2021-02-25 | 2021-03-15 | NM 2.3 | 10 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05401 | 2021 |  | 2021
Burlington Electric Department | 35 HILLCREST RD | Installed |  | 2021-12-02 | 21-1979-NMR | 2021-06-03 | 2021-06-18 | NM 2.3 | 5 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05401 | 2021 |  | 2021
Burlington Electric Department | 30 GAZO AVE | Installed |  | 2021-12-08 | 21-2789-NMR | 2021-08-02 | 2021-08-18 | NM 2.3 | 6.79 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2021
Burlington Electric Department | 296 S COVE RD | Installed |  | 2021-12-16 | 21-3212-NMR | 2021-08-25 | 2021-09-10 | NM 1.0 | 5 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05401 | 2021 |  | 2021
Burlington Electric Department | 1 CRESCENT BEACH DR | Installed |  | 2022-01-31 | 20-3878-NMR | 2020-12-21 | 2021-01-07 | NM 2.2 | 13.57 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020 |  | 2022
Burlington Electric Department | 80 HOWARD ST | Installed |  | 2022-01-31 | 21-3407-NMR | 2021-08-30 | 2021-09-15 | NM 2.3 | 3.83 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05401 | 2021 |  | 2022
Burlington Electric Department | 134 CAROLINE ST | Installed |  | 2022-01-31 | 21-4111-NMR | 2021-10-06 | 2021-10-21 | NM 2.4 | 7.6 | Solar | Transfer to Utility | -0.01 | CAT I | Roof Mount | Burlington | 05401 | 2021 |  | 2022
Burlington Electric Department | 101 LEDGE RD | Installed |  | 2022-01-31 | 21-4249-NMR | 2021-10-19 | 2021-11-03 | NM 2.4 | 7.08 | Solar | Transfer to Utility | -0.01 | CAT I | Roof Mount | Burlington | 05401 | 2021 |  | 2022
Burlington Electric Department | 25 PENNINGTON DR | Installed |  | 2022-02-01 | 21-4128-NMR | 2021-10-08 | 2021-10-25 | NM 2.4 | 3.8 | Solar | Transfer to Utility | -0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021 |  | 2022
Burlington Electric Department | 1850 1/2 NORTH AVE 1FL N | Proposed |  |  | 20-0721-NMR | 2020-03-18 | 2020-04-02 | NM 2.2 | 3.48 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020
Burlington Electric Department | 28 MURRAY ST | Proposed |  |  | 20-0754-NMR | 2020-03-20 | 2020-04-06 | NM 2.2 | 3.8 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020
Burlington Electric Department | 290 EAST AVE | Proposed |  |  | 20-1256-NMR | 2020-05-19 | 2020-06-19 | NM 2.2 | 28 | Solar | Retain | 0.01 | CAT II | Roof Mount | Burlington | 05401 | 2020
Burlington Electric Department | 10 HOLT ST | Proposed |  |  | 20-1293-NMR | 2020-05-22 | 2020-06-09 | NM 2.2 | 6.24 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020
Burlington Electric Department | 118 BRIERWOOD LN | Proposed |  |  | 20-2355-NMR | 2020-08-24 | 2020-09-09 | NM 2.2 | 7.6 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2020
Burlington Electric Department | 45 S CREST DR | Proposed |  |  | 20-2596-NMR | 2020-09-11 | 2020-09-28 | NM 2.2 | 3 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020
Burlington Electric Department | 1 SURF RD | Proposed |  |  | 21-0472-NMR | 2021-01-29 | 2021-02-16 | NM 2.2 | 10 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 148 RIVERMOUNT TER | Proposed |  |  | 21-0635-NMR | 2021-02-01 | 2021-02-17 | NM 2.2 | 4.25 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 58 LAFOUNTAIN ST 1FL | Proposed |  |  | 21-2834-NMR | 2021-08-04 | 2021-08-20 | NM 2.3 | 4.76 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05401 | 2021
Burlington Electric Department | 16 SUMMIT RDG | Proposed |  |  | 21-2862-NMR | 2021-08-05 | 2021-08-23 | NM 2.3 | 13.57 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05401 | 2021
Burlington Electric Department | 237 RIVERSIDE AVE | Proposed |  |  | 21-3268-NMR | 2021-08-26 | 2021-09-28 | NM 2.3 | 150 | Solar | Transfer to Utility | 0 | CAT II | Roof Mount | Burlington | 05401 | 2021
Burlington Electric Department | 701 PINE ST | Proposed |  |  | 21-3260-NMR | 2021-08-26 | 2021-10-05 | NM 2.3 | 115.2 | Solar | Transfer to Utility | 0 | CAT II | Roof Mount | Burlington | 05401 | 2021
Burlington Electric Department | 221 CURTIS AVE | Proposed |  |  | 21-3307-NMR | 2021-08-27 | 2021-12-20 | NM 2.3 | 3.8 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 98 KILLARNEY DR | Proposed |  |  | 21-3331-NMR | 2021-08-27 | 2021-09-14 | NM 2.3 | 6.49 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 1240 NORTH AVE | Proposed |  |  | 21-3393-NMR | 2021-08-30 | 2021-09-15 | NM 2.3 | 2.95 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 22 BROWE CT | Proposed |  |  | 21-3572-NMR | 2021-08-31 | 2021-09-16 | NM 2.3 | 7.38 | Solar | Transfer to Utility | 0 | CAT I | Roof Mount | Burlington | 05401 | 2021
Burlington Electric Department | 25 ALEXIS DR | Proposed |  |  | 21-3932-NMR | 2021-09-22 | 2021-10-07 | NM 2.2 | 1.18 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 81 JAMES AVE | Proposed |  |  | 21-4081-NMR | 2021-10-05 | 2021-10-20 | NM 2.4 | 6 | Solar | Transfer to Utility | -0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 155 LOCUST ST | Proposed |  |  | 21-4657-NMR | 2021-11-03 | 2021-11-19 | NM 2.4 | 7.6 | Solar | Transfer to Utility | -0.01 | CAT I | Roof Mount | Burlington | 05401 | 2021
Burlington Electric Department | 18 PERROTTA PL | Proposed |  |  | 21-5169-NMR | 2021-12-08 | 2021-12-23 | NM 2.4 | 4.13 | Solar | Transfer to Utility | -0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 112 CURTIS AVE | Proposed |  |  | 21-5332-NMR | 2021-12-21 | 2022-01-06 | NM 2.4 | 10.03 | Solar | Transfer to Utility | -0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021
Burlington Electric Department | 1079 PINE ST | Proposed |  |  | 21-5390-NMR | 2021-12-30 | 2022-01-18 | NM 2.4 | 6 | Solar | Transfer to Utility | -0.01 | CAT I | Roof Mount | Burlington | 05401 | 2021
Burlington Electric Department | 65 OAKLEDGE DR | Withdrawn |  |  | 19-4942-NMR | 2019-12-20 | 2020-01-08 | NM 2.2 | 11.1 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2019
Burlington Electric Department | 95 EDGEMOOR DR | Withdrawn |  |  | 20-1194-NMR | 2020-05-13 | 2020-05-29 | NM 2.2 | 10.23 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020
Burlington Electric Department | 44 CAYUGA CT | Withdrawn |  |  | 20-1732-NMR | 2020-07-01 | 2020-07-17 | NM 2.2 | 5.61 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020
Burlington Electric Department | 75 DEFOREST RD | Withdrawn |  |  | 20-2899-NMR | 2020-10-05 | 2020-10-20 | NM 2.2 | 5.17 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05401 | 2020
Burlington Electric Department | 27 GREY MEADOW DR | Withdrawn |  |  | 21-0432-NMR | 2021-01-28 | 2021-02-12 | NM 2.2 | 7.51 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 5408 | 2021
Burlington Electric Department | 134 ETHAN ALLEN PKWY | Withdrawn |  |  | 21-0654-NMR | 2021-02-01 | 2021-02-17 | NM 2.2 | 4.43 | Solar | Transfer to Utility | 0.01 | CAT I | Roof Mount | Burlington | 05408 | 2021
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: interconnection application dates that were blank but had an interconnection date have assumed the CPG application date where available.

## dropdowns
|  |  | 1a |  | 1b | 1c | 1d | 1e | 1f | 2 | 3 | 4 | 5 | 6 | 7 | 8
|  |  | INTERCONNECTION |  |  | CPG REGISTRATION / APPLICATION |  |  | SYSTEM DATA | [6 empty] | LOCATION
Utility | System Name | Application Status | Interconnection Application Date | Interconnection Date | CPG Number | Completed CPG Application Date | CPG Issued / Deemed Issued Date | NM System (Vintage) | AC (Inverter) Capacity kW | Fuel Type | REC Disposition | Applicable Siting Adjustor | Category | Preferred Site Type | Municipality | Zip Code | CPG Application year | Interconnection Application Year | Interconnection Year
|  | Installed | [5 empty] | NM 1.0 |  | Solar | Retain | 0.01 | CAT I | Adjacent to load
|  | Proposed | [5 empty] | NM 2.0 |  | Wind | Transfer to Utility | -0.01 | CAT II | Canopy
|  | Withdrawn | [5 empty] | NM 2.1 |  | Hydro |  | -0.02 | CAT III | Gravel Pit, Quarry, Etc.
[8 empty] | NM 2.2 |  |  |  | -0.03 | CAT IV | Ground Mount
[8 empty] | NM 2.3 |  |  |  | -0.04 | HYDRO | Joint Letter of Support
[8 empty] | NM 2.4 |  |  |  | -0.05 |  | Landfill
Municipal Plan or Letter
New or existing structure
Non Rooftop
Parking lot canopy
Previously developed site
Roof Mount
Roof Top
OTHER
Note on D3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: interconnection application dates that were blank but had an interconnection date have assumed the CPG application date where available.

## definitions
NM system key:
NM 1.0 | CPG APP ON OR BEFORE 1/2/2017
NM 2.0 | CPG 1/3/2017 THRU 7/2/2018
NM 2.1 | CPG 7/3/2018 THRU 6/30/2019
NM 2.2 | 7/1/2019 THRU 2/1/2021
NM 2.3 | 2/2/2021 THRU 7/31/2021
NM 2.4 | 8/1/2021 THRU -
Solar
Wind
Hydro
Retain | means retained by system owner
Transfer to Utility | means transferred to utility
SITING ADJUSTORS | NM 1.0 & NM 2.0 | NM 2.1 & NM 2.2 | NM 2.3 | NM 2.4
CAT I | 0.01 | 0.01 | 0 | -0.01 | 0
CAT II | 0.01 | 0.01 | 0 | -0.01 | 0.01
CAT III | -0.01 | -0.02 | -0.03 | -0.04 | 0.02
CAT IV | -0.03 | -0.03 | -0.04 | -0.05 | -0.01
HYDRO | 0 | 0 | 0 | 0 | -0.02
-0.03
-0.04
-0.05
Application Status Key:
Installed | Project applied for interconnection and has been placed into service
Proposed | Project applied for interconnection and has not yet been placed into service
Withdrawn | Project applied for interconnection and was subsequently removed from interconnection (ie: applicant abandoned CPG, CPG expired, Rule 5.500 milestone not met, etc.)
Note on H14: Steve Farman: